# File No.:  _____________________________________

DW 000

### FORM FOR THE APPLICATION FOR EXTENSION OF TIME FOR THE SUBMISSION OF A DAM SAFETY EVALUATION (INSPECTION) REPORT

Name of dam:	_________________________________________________________________________________

Departmental file reference for dam:  _________________________________________________________________

Note:	(i)	This form is for the application of extension of time for the submission of the formal dam safety inspection by an approved professional person, which must be done every 5 years and is based on the submission of an interim inspection of the dam by the owner or someone appointed by him.

(ii)	Photos taken during the interim inspection of the dam (upstream, crest and downstream) and the spillway should be attached and the interim report should refer to these photos to describe the present condition of the dam.

(iii)	Trees and bushes which will obstruct the interim inspection should be removed before the inspection in line with the requirements of the Operation and Maintenance Manual of the dam.

## SECTION 1:  CONTACT DETAILS

Name of Owner / Person in Control ___________________________________________________________________

________________________________________________________________________________________________

Postal Address____________________________________________________________________________________

____________________________________________________________________Postal Code__________________

Tel /cell No______________________________________________________________________________________

Email Address____________________________________________________________________________________

## SECTION 2:  INTERIM INSPECTION OF THE DAM

Date:  __________________________________________	Water level in dam:  _____________________________

Did it rain recently?  ____________________________	Describe:  _____________________________________

Persons present at inspection:  _______________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

## EARTH WALLS

## CREST OF EARTH WALLS

Crest width (m) _______________ Has the crest width changed since construction?  ____________________________

Is the crest still level or has settlement occurred?  ________________________________________________________

Are there signs of erosion?  __________________	Describe:  ____________________________________________

________________________________________________________________________________________________

Are there signs of cracks?  ___________________		Describe (use separate page, if necessary) ____________

Is maintenance necessary on the crest?  ________________________________________________________________

Are there signs of holes (ants, rats, meercats, moles, crabs, etc.)	Describe:  ______________________________

## UPSTREAM FACE OF EARTH WALLS

Slope (vertical:  horizontal):  ________________________________________________________________________

Slope protection measures (if any):  __________________________________________________________________

________________________________________________________________________________________________

Are there signs of erosion?  _______________________	Describe:  _____________________________________

________________________________________________________________________________________________

Are there signs of cracks?  ________________________	Describe:  _____________________________________

________________________________________________________________________________________________

Are there signs of settlement?  ____________________	Describe:  _____________________________________

________________________________________________________________________________________________

## DOWNSTREAM FACE OF EARTH WALLS

Slope (vertical:  horizontal):  ________________________________________________________________________

Slope protection measures (if any):  ___________________________________________________________________

________________________________________________________________________________________________

Are there signs of erosion?  _______________________	Describe:  _____________________________________

________________________________________________________________________________________________

Are there signs of cracks?  ________________________	Describe:  _____________________________________

________________________________________________________________________________________________

Are there signs of settlement?  _____________________	Describe:  _____________________________________

________________________________________________________________________________________________

Are there signs of bulging/sliding?  ___________________________________________________________________

Are there wet patches?  __________________________	Describe:  _____________________________________

________________________________________________________________________________________________

Are there signs of seepage/leaks?  __________________	Describe:  _____________________________________

________________________________________________________________________________________________

Amount of leakage?  _______________________________________________________________________________

Is the leaking water clear or turbid?  __________________________________________________________________

Are there signs of holes (ants, rats, meercats, moles, crabs, etc.)  ______________	Describe:  _______________

## VEGETATION ON EARTH WALL

Are there any trees or shrubs on the wall?  ______________________________________________________________

If so describe type, size, number and position:  __________________________________________________________

________________________________________________________________________________________________

## DRAINAGE SYSTEM IN EARTH WALL

Does a toe drain or internal drainage system exist?  ______________________________________________________

Describe:  _______________________________________________________________________________________

________________________________________________________________________________________________

Amount of leakage?  _______________________________________________________________________________

Is the water from the drains clear or turbid?  ____________________________________________________________

## CONCRETE WALLS

Do cracks exist?  __________________________	Describe on separate page, if necessary (position, size, length):

________________________________________________________________________________________________

________________________________________________________________________________________________

Is there leakage through the cracks?  ___________________________		Describe (flow rate:  ______________

________________________________________________________________________________________________

Is there leakage at the joints?  __________________________________	Describe:  ______________________

________________________________________________________________________________________________

Is there settlement?  __________________________________	Describe:  ______________________________

Is there relative movement?  ___________________________		Describe:  ______________________________

________________________________________________________________________________________________

Describe condition of concrete:  ______________________________________________________________________

________________________________________________________________________________________________

Upstream slope (horizontal:  vertical):  ________________________________________________________________

Downstream slope (horizontal:  vertical):  ______________________________________________________________

Describe pressure relief holes:  _______________________________________________________________________

________________________________________________________________________________________________

## DOWNSTREAM TOE AND FLANKS OF ANY DAM

Describe wet patches (position, size):  _________________________________________________________________

________________________________________________________________________________________________

Seepage/leaks (position, flow rate):  ___________________________________________________________________

________________________________________________________________________________________________

Is the leakage water clear or turbid?  __________________________________________________________________

________________________________________________________________________________________________

Are there any trees or shrubs within 5 m of the wall?  _____________________________________________________

Describe:  _______________________________________________________________________________________

________________________________________________________________________________________________

FLOOD OUTLETS (OF ANY DAM)

Condition of structures in spillway channel (cills, retaining walls etc.)  _______________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

Is the stability of the damwall threatened by the spillway channel?  __________________________________________

Is there loose material in the spillway channel?  ___________________		Describe:  ______________________

Is there any erosion in the spillway channel?  _____________________		Describe:  ______________________

Is there any erosion in the river?  _________________________	Describe:  ______________________________

Are the spillway length and freeboard still as shown on the drawings?  _______________________________________

OUTLET WORKS (OF ANY DAM)

Number of outlet pipes:  ____________	Diameter:  _________________	Type:  _________________________

Condition of outlet pipe foundation:  __________________________________________________________________

________________________________________________________________________________________________

Is the control upstream or downstream?  _______________________________________________________________

Is there provision for an upstream emergency valve?  _____________________________________________________

Are the valves used regularly?  _______________________________________________________________________

Are the valves in working condition?  _________________________________________________________________

Are there leaks alongside the outlet pipe?  ______________________________________________________________

Any erosion downstream of the outlet works?  __________________________________________________________

Rust protection?  __________________________________________________________________________________

Other observations:  _______________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

## SECTION 14:  INTERIM RECOMMENDATIONS

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

SECTION 3: APPLICATION FOR EXTENSION OF TIME

Motivation for extension of time______________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

________________________________________________________________________________________________

SIGNATURE:  _____________________________________			DATE:  ________________________

2015

Remember to attach the photos taken of the dam and the spillway.