## Readme
All Town Reconciliation Strategies - Northern Planning Region - Summary per Municipality, per Province
DWS Contract No. WP10587
The Department of Water and Sanitation (DWS) commissioned four three-year studies (2012/2013 - 2014/2015) for the continuation and maintenance of the bulk water supply reconciliation strategies for all towns in the country. The studies cover the four Water Resource Planning Areas - North, South, East and Central and this study covers the Northern Planning Area. These strategies were developed in 2011 and need to be revised to remain relevant under prevailing conditions. The study is part of an on-going process to ensure sufficient water can be made available for pertinent developmental imperatives in and around all towns.
A strategy was developed for each cluster - referring to a supply area/s (water supply scheme/s) utilising the same source.
Assumptions were made on the potential WC/WDM savings that can be achieved.
Assumptions were made on the augmentation options and implementation thereof to address future water requirements. Actual augmentation options may require futher studies - refer to individual strategy reports for confirmation.

## A1___Population
Town ID | Province | DM | LM | Town | Comment | Water Balance | [6 empty] | Executive Summary | Recommendation | Estimated population, 2008 - 2030, High scenario | [7 empty] | Theoretical Gross Water Requirements (million m3/a) | [7 empty] | Theoretical Unit Consumption (l/capita/day) |  |  |  | Sceanrio 3 Unit Consumption (l/capita/day) |  |  |  | WC/WDM possible savings | Water Source
[15 empty] | 2008 | 2010 | 2011 | 2015 | 2020 | 2025 | 2030 | 2035 | 2008 | 2010 | 2011 | 2015 | 2020 | 2025 | 2030 | 2035 | 2008 | 2011 | 2030 | 2035 | 2008 | 2011 | 2030 | 2035 | % | Name of Dam/River/Scheme | SurfaceW | GroundW | GroundW | Confidence
LEGEND: |  | Town is currently in deficit |  |  | Town will be in deficit within 5 years | [9 empty] | Town will be in deficit in 5 to 10 years | [7 empty] | Town will be in deficit after 10 years or more | [7 empty] | Strategy included elsewhere |  |  |  | No water balance graph |  |  |  |  | High unit consumption
240 | North West | Dr Kenneth Kaunda | Ventersdorp | Ventersdorp Urban |  | Graph | 20881 | 21918 | 22651 | 23334 | 23998 | 24649 | Exec Sum | Recomm | 20881 | 21918 |  | 22651 | 23334 | 23998 | 24649 |  | 1.235 | 1.3703 |  | 1.6075 | 1.7129 | 1.8202 | 1.9297 |  | 161.925 |  | 214.3365 |  | 242.8284 |  | 307.2372 |  | 9.9 | Schoonspruit Spring | Vaal Recon: 1.6-2 mill m3/a | N/A | N/A | medium
241 |  |  | Tlokwe | Potchefstroom Urban |  | Graph | 136261 | 140775 | 151875 | 161188 | 170201 | 179242 | Exec Sum | Recomm |  |  | 147216 | 160814 | 179199 | 199259 | 221100 | 245335 |  |  | 14.457 | 15.793 | 17.598 | 19.568 | 21.713 | 24.093 |  | 268.8642 |  | 268.8693 |  | 295 |  | 301 | 4 | Potchefstroom, Klerkskraal and Boskop Dams | 20 | N/A | N/A | high
242 |  |  |  | Klipdrift Urban | Included in Potchefstroom Strategy | Graph 241 | 447 | 432 | 393 | 376 | 369 | 363 | Exec Sum 241 | Recomm 241 | [8 empty] | 0.022343 | 0.021944 |  | 0.020762 | 0.020589 | 0.020917 | 0.021277 |  | 136.8493 |  | 160.4762 |  | 176.3975 |  | 205.5182
243 |  |  |  | Oorbietjiesfontein Urban |  | Graph 241 | 1282 | 1233 | 1119 | 1070 | 1046 | 1023 | Exec Sum 241 | Recomm 241 | [8 empty] | 0.062363 | 0.061968 |  | 0.06075 | 0.060154 | 0.060822 | 0.061457 |  | 133.1826 |  | 164.4777 |  | 174.9555 |  | 210.664
244 |  |  | City of Matlosana | Stilfontein Urban | Included in Klerksdorp Strategy | Graph 245 | 41436 | 41654 | 42171 | 42621 | 43146 | 43703 | Exec Sum 245 | Recomm 245 | [8 empty] | 1.9926 | 2.0919 |  | 2.3426 | 2.4498 | 2.5632 | 2.6805 |  | 131.6581 |  | 167.9272 |  | 239.3868 |  | 294.2505
245 |  |  |  | Klerksdorp Urban |  | Graph 245 | 51804 | 51115 | 51852 | 54450 | 58661 | 64136 | Exec Sum | Recomm | 281814 | 281913 |  | 286610 | 292389 | 299581 | 308171 |  | 5.351 | 5.3341 |  | 5.5486 | 5.9715 | 6.5894 | 7.3751 |  | 282.7994 |  | 314.8316 |  | 239.3585 |  | 265.5183 |  | 6 | Midvaal | 27.988-37 mill m3/a | N/A | N/A | high
246 |  |  |  | Dominionville Urban | Included in Wolmaransstad Strategy | Graph 254 | 620 | 635 | 654 | 665 | 676 | 688 | Exec Sum 254 | Recomm 254 | [8 empty] | 0.033963 | 0.035522 |  | 0.038482 | 0.040411 | 0.042383 | 0.044463 |  | 149.9779 |  | 176.936 |  | 215.149 |  | 250.5483
247 |  |  |  | Hartebeesfontein Urban |  | Graph 254 | 15061 | 15394 | 15670 | 15843 | 16040 | 16251 | Exec Sum 254 | Recomm 254 | [8 empty] | 0.5499 | 0.60409 |  | 0.72189 | 0.75786 | 0.79564 | 0.83484 |  | 99.963 |  | 140.6475 |  | 151.5509 |  | 199.2089
248 |  |  |  | Jouberton Urban |  | Graph 254 | 111153 | 113613 | 117658 | 119997 | 121545 | 123119 | Exec Sum 254 | Recomm 254 | [8 empty] | 5.5489 | 6.2959 |  | 8.136 | 8.6171 | 9.0517 | 9.4966 |  | 136.6777 |  | 211.1795 |  | 239.3923 |  | 333.673
249 |  |  |  | Orkney Urban |  | Graph 254 | 77421 | 75531 | 74929 | 75321 | 76229 | 77213 | Exec Sum 254 | Recomm 254 | [8 empty] | 4.0587 | 4.4226 |  | 5.5354 | 5.7648 | 6.0372 | 6.3206 |  | 143.5285 |  | 224.1196 |  | 239.3378 |  | 333.9442
250 |  |  | Maquassi Hills | Kareeboom Urban | Included in Wolmaransstad Strategy | Graph 254 | 466 | 486 | 517 | 544 | 567 | 594 | Exec Sum 254 | Recomm 254 | [8 empty] | 0.0078654 | 0.012274 |  | 0.023884 | 0.02618 | 0.028381 | 0.030878 |  | 46.2108 |  | 142.32 |  | 129.2548 |  | 266.519
251 |  |  |  | Leeudoringstad Urban |  | Graph 254 | 13645 | 14171 | 15025 | 15744 | 16436 | 17132 | Exec Sum 254 | Recomm 254 | [8 empty] | 0.67084 | 0.71054 |  | 0.79004 | 0.8582 | 0.92762 | 0.99994 |  | 134.6028 |  | 159.8 |  | 126.0074 |  | 147.9636
252 |  |  |  | Makwassie Urban |  | Graph 254 | 12977 | 13480 | 14225 | 14882 | 15533 | 16189 | Exec Sum 254 | Recomm 254 | [8 empty] | 0.51102 | 0.57084 |  | 0.70796 | 0.76935 | 0.83296 | 0.89936 |  | 107.8131 |  | 152.0985 |  | 126.3753 |  | 166.7392
253 |  |  |  | Witpoort Urban |  | Graph 254 | 1952 | 1882 | 1826 | 1792 | 1762 | 1733 | Exec Sum 254 | Recomm 254 | [8 empty] | 0.064314 | 0.070769 |  | 0.089914 | 0.091696 | 0.093559 | 0.095361 |  | 90.2053 |  | 150.655 |  | 127.6355 |  | 187.0106
254 |  |  |  | Wolmaransstad Urban |  | Graph 254 | 24884 | 25827 | 27374 | 28682 | 29938 | 31203 | Exec Sum | Recomm | 53458 | 55360 |  | 58450 | 61100 | 63669 | 66257 |  | 1.5169 | 1.6511 |  | 1.9535 | 2.1232 | 2.2958 | 2.4759 |  | 166.8926 |  | 217.2402 |  | 126.1982 |  | 157.7841 |  | 3.3 | Vall River | Part of for Sedibeng Water 45.9 3.3-4.3 mill m3/a | 30% from BHs | No info | high
255 |  |  | Merafong City | Elandsfontein Urban | No Strategy - Included in Vaal Recon Strategy | Graph 158 | [6 empty] | Exec Sum 158 | Recomm 158
256 |  |  |  | Elandsrand Urban |  | Graph 158 | [6 empty] | Exec Sum 158 | Recomm 158
257 |  |  |  | Fochville Urban |  | Graph 158 | 10348 | 10771 | 11515 | 12088 | 12571 | 13046 | Exec Sum 158 | Recomm 158 | [8 empty] | 0.77215 | 0.8154 |  | 0.90296 | 0.9712 | 1.0343 | 1.0985 |  | 204.2945 |  | 230.531 |  | 263.7458 |  | 295.1085
258 |  |  |  | Kokosi Urban |  | Graph 158 | 23643 | 24853 | 27071 | 28583 | 29732 | 30854 | Exec Sum 158 | Recomm 158 | [8 empty] | 0.87342 | 1.0009 |  | 1.3157 | 1.4443 | 1.5597 | 1.6781 |  | 101.142 |  | 148.9066 |  | 140.8818 |  | 190.7395
259 |  |  |  | East Driefontein Mine Urban |  | Graph 158 | 8441 | 8761 | 9597 | 10083 | 10483 | 10878 | Exec Sum 158 | Recomm 158 | [8 empty] | 0.50557 | 0.54475 |  | 0.65154 | 0.70398 | 0.75213 | 0.80145 |  | 163.9839 |  | 201.7136 |  | 217.0183 |  | 258.2549
260 |  |  |  | Wedela Urban |  | Graph 158 | 9120 | 9368 | 10264 | 10858 | 11297 | 11726 | Exec Sum 158 | Recomm 158 | [8 empty] | 0.40869 | 0.43895 |  | 0.53338 | 0.58518 | 0.63063 | 0.67719 |  | 122.691 |  | 158.1142 |  | 163.2442 |  | 202.4992
261 |  |  |  | Blybank Urban |  | Graph 158 | 1394 | 1453 | 1558 | 1628 | 1693 | 1758 | Exec Sum 158 | Recomm 158 | [8 empty] | 0.088025 | 0.092551 |  | 0.10139 | 0.10908 | 0.1167 | 0.12457 |  | 172.8824 |  | 194.0024 |  | 221.3543 |  | 248.3213
262 |  |  |  | Blyvooruitzicht Urban |  | Graph 158 | 11414 | 10975 | 9956 | 9511 | 9297 | 9081 | Exec Sum 158 | Recomm 158 | [8 empty] | 0.74422 | 0.72679 |  | 0.68469 | 0.67243 | 0.67523 | 0.67706 |  | 178.5138 |  | 204.127 |  | 230.5239 |  | 261.3511
263 |  |  |  | Carletonville Urban |  | Graph 158 | 18710 | 19421 | 21275 | 22506 | 23413 | 24295 | Exec Sum 158 | Recomm 158 | [8 empty] | 1.373 | 1.439 |  | 1.6141 | 1.7509 | 1.8667 | 1.9838 |  | 200.9175 |  | 223.562 |  | 257.899 |  | 286.1758
264 |  |  |  | Deelkraal Urban |  | Graph 158 | 3040 | 2923 | 2653 | 2535 | 2479 | 2423 | Exec Sum 158 | Recomm 158 | [8 empty] | 0.21682 | 0.21029 |  | 0.19499 | 0.19121 | 0.19176 | 0.1921 |  | 195.2719 |  | 217.0665 |  | 250.3389 |  | 277.8855
265 |  |  |  | Doornfontein Urban |  | Graph 158 | 2623 | 2723 | 2984 | 3157 | 3285 | 3408 | Exec Sum 158 | Recomm 158 | [8 empty] | 0.17681 | 0.18505 |  | 0.2069 | 0.22498 | 0.24044 | 0.25601 |  | 184.5504 |  | 205.6704 |  | 236.3175 |  | 263.2845
266 |  |  |  | Elandsridge Urban |  | Graph 158 | 2011 | 2120 | 2324 | 2460 | 2560 | 2656 | Exec Sum 158 | Recomm 158 | [8 empty] | 0.16161 | 0.17174 |  | 0.19204 | 0.20803 | 0.22142 | 0.23484 |  | 220.0197 |  | 242.0822 |  | 282.0991 |  | 309.8758
267 |  |  |  | Khutsong Urban |  | Graph 158 | 70855 | 72897 | 76241 | 79436 | 82581 | 85689 | Exec Sum 158 | Recomm 158 | [8 empty] | 2.2211 | 2.6338 |  | 3.6662 | 3.9731 | 4.2896 | 4.6163 |  | 85.8253 |  | 147.4959 |  | 127.1275 |  | 188.932
268 |  |  |  | Westdriefontein Urban |  | Graph 158 | 6174 | 5937 | 5386 | 5145 | 5030 | 4914 | Exec Sum 158 | Recomm 158 | [8 empty] | 0.36288 | 0.354 |  | 0.33261 | 0.32765 | 0.33003 | 0.3319 |  | 160.9173 |  | 184.9164 |  | 207.3508 |  | 236.7913
269 |  |  |  | Oberholzer Urban |  | Graph 158 | 4329 | 4493 | 4923 | 5208 | 5419 | 5624 | Exec Sum 158 | Recomm 158 | [8 empty] | 0.30592 | 0.32152 |  | 0.36328 | 0.39435 | 0.42078 | 0.44754 |  | 193.4781 |  | 217.8705 |  | 249.1342 |  | 278.9125
270 |  |  |  | Welverdiend Urban |  | Graph 158 | 2204 | 2290 | 2509 | 2656 | 2765 | 2872 | Exec Sum 158 | Recomm 158 | [8 empty] | 0.1445 | 0.15226 |  | 0.17263 | 0.18787 | 0.20091 | 0.21422 |  | 179.5018 |  | 204.2151 |  | 231.371 |  | 261.4251

## 240
Water Balance for Ventersdorp Towns Area | 2011-06-01

## 241
Water balance for Potchefstroom with current irrigation use
Water Balance for Potchefstroom | 2015-07-01

## 245
Water balance for Klerksdorp Town Area | 2011-06-01

## 254
Water balance for Wolmaransstad Town Area | 2011-06-01