## Readme
All Town Reconciliation Strategies - Northern Planning Region - Summary per Municipality, per Province
DWS Contract No. WP10587
The Department of Water and Sanitation (DWS) commissioned four three-year studies (2012/2013 - 2014/2015) for the continuation and maintenance of the bulk water supply reconciliation strategies for all towns in the country. The studies cover the four Water Resource Planning Areas - North, South, East and Central and this study covers the Northern Planning Area. These strategies were developed in 2011 and need to be revised to remain relevant under prevailing conditions. The study is part of an on-going process to ensure sufficient water can be made available for pertinent developmental imperatives in and around all towns.
A strategy was developed for each cluster - referring to a supply area/s (water supply scheme/s) utilising the same source.
Assumptions were made on the potential WC/WDM savings that can be achieved.
Assumptions were made on the augmentation options and implementation thereof to address future water requirements. Actual augmentation options may require futher studies - refer to individual strategy reports for confirmation.

## A1___PopWaterReq
All Town Reconciliation Strategies - Northern Planning Region - Summary for Mpumalanga Province
DWS Contract No. WP10587
ATRpt ID No. 2015 | Province | DM | LM | Cluster / Towns | Comment | Water Balance | Executive Summary | Conclusions & Recom-mendations | Estimated population, 2008 - 2030, High scenario | [7 empty] | Water Requirements (mil m³/a), High Scenario (WC/WDM not included) | [7 empty] | Unit Consumption (l/cap/day) |  |  |  | WC/WDM possible savings (mil m³/a) | [7 empty] | Water Balance, high scenario (mil m³/a, with WC/WDM, WITH augmentation) (<0 = red; >4 = blue) | [7 empty] | Water Source - Current
[9 empty] | 2008 | 2010 | 2011 | 2015 | 2020 | 2025 | 2030 | 2035 | 2008 | 2010 | 2011 | 2015 | 2020 | 2025 | 2030 | 2035 | 2008 | 2011 | 2030 | 2035 | 2008 | 2010 | 2011 | 2015 | 2020 | 2025 | 2030 | 2035 | 2008 | 2010 | 2011 | 2015 | 2020 | 2025 | 2030 | 2035 | Name of Dam/River/Scheme | SurfaceW Licensed / Allocation (mil m³/a) | SW Supply (mil m³/a) | SW Quality | GroundW Licensed / Allocation (mil m³/a) | GW Supply (mil m³/a) | GW Quality | Level of Confidence in Info
222 | Mpumalanga | Ehlazeni | Thaba Chweu | Moremela |  | Graph 222 | Exec Sum | Recomm |  |  | 8576 | 8679 | 8916 | 9128 | 9334 | 9545 |  |  | 0.638 | 0.675 | 0.731 | 0.785 | 0.802 | 0.821 |  | 203.6787 |  | 235.4925 |  |  | 0 | 0 | 0.078 | 0.078 | 0.078 | 0.078 |  |  | 0.191 | 0.154 | 0.176 | 0.122 | 0.104 | 0.086 | Moremela Spring, GW | - | 0.33 | Good | 0.62 | 0.499 | Average, dolomitic area, high water hardness
223 |  |  |  | Mashishing (Lydenburg) |  | Graph 223 | Exec Sum | Recomm |  |  | 42321 | 46714 | 47987 | 49127 | 50237 | 51372 |  |  | 7.703 | 8.29 | 8.518 | 8.733 | 8.879 | 9.027 |  | 310 |  | 278 |  |  | 0 | 0 | 0.891 | 0.891 | 0.891 | 0.891 |  |  | -2.366 | -1.279 | -0.458 | -0.591 | -0.682 | -0.773 | Lydenburg Dam, GW | 3.246 | 2.5 | Not known |  | 1.2 | Below average, TDS
178 |  |  |  | Thaba Chweu Remainder |  | Graph 178 | Exec Sum | Recomm |  |  |  | 2272 | 2208 | 2185 | 2202 |  |  |  |  | 0.139 | 0.148 | 0.152 | 0.153 |  |  | #DIV/0! |  | #DIV/0! |  |  |  | 0.013 | 0.019 | 0.02 | 0.02 |  | 0 | 0 |  | 0.011 | 0.01 | 0.006 | 0.005