## Readme
All Town Reconciliation Strategies - Northern Planning Region - Summary per Municipality, per Province
DWS Contract No. WP10587
The Department of Water and Sanitation (DWS) commissioned four three-year studies (2012/2013 - 2014/2015) for the continuation and maintenance of the bulk water supply reconciliation strategies for all towns in the country. The studies cover the four Water Resource Planning Areas - North, South, East and Central and this study covers the Northern Planning Area. These strategies were developed in 2011 and need to be revised to remain relevant under prevailing conditions. The study is part of an on-going process to ensure sufficient water can be made available for pertinent developmental imperatives in and around all towns.
A strategy was developed for each cluster - referring to a supply area/s (water supply scheme/s) utilising the same source.
Assumptions were made on the potential WC/WDM savings that can be achieved.
Assumptions were made on the augmentation options and implementation thereof to address future water requirements. Actual augmentation options may require futher studies - refer to individual strategy reports for confirmation.

## A1___PopWaterReq
All Town Reconciliation Strategies - Northern Planning Region - Summary for Mpumalanga Province
DWS Contract No. WP10587
ATRpt ID No. 2015 | Province | DM | LM | Cluster / Towns | Comment | Water Balance | Executive Summary | Conclusions & Recom-mendations | Estimated population, 2008 - 2030, High scenario | [7 empty] | Water Requirements (mil m³/a), High Scenario (WC/WDM not included) | [7 empty] | Unit Consumption (l/cap/day) |  |  |  | WC/WDM possible savings (mil m³/a) | [7 empty] | Water Balance, high scenario (mil m³/a, with WC/WDM, WITH augmentation) (<0 = red; >4 = blue) | [7 empty] | Water Source - Current
[9 empty] | 2008 | 2010 | 2011 | 2015 | 2020 | 2025 | 2030 | 2035 | 2008 | 2010 | 2011 | 2015 | 2020 | 2025 | 2030 | 2035 | 2008 | 2011 | 2030 | 2035 | 2008 | 2010 | 2011 | 2015 | 2020 | 2025 | 2030 | 2035 | 2008 | 2010 | 2011 | 2015 | 2020 | 2025 | 2030 | 2035 | Name of Dam/River/Scheme | SurfaceW Licensed / Allocation (mil m³/a) | SW Supply (mil m³/a) | SW Quality | GroundW Licensed / Allocation (mil m³/a) | GW Supply (mil m³/a) | GW Quality | Level of Confidence in Info
163 | Mpumalanga | Nkangala | Victor Khanye | Delmas/Botleng/SundraEloff | Population and water requirements to be verified (including metered water supply). WWTW in Delmas & Botleng overloaded. Risk of GW pollution. | Graph 163 | Exec Sum | Recomm | 49605 | 51126 |  | 53491 | 55622 | 57578 | 59085 |  | 2.852 | 3.007 |  | 3.268 | 3.7 | 3.987 | 4.091 |  | 157.4106 |  | 189.5667 |  | 0 | 0.03 |  | 0.294 | 0.481 | 0.518 | 0.532 |  | 2.473 | 2.348 |  | 2.351 | 2.106 | 1.856 | 1.765 |  | Rand Water, 4 BH fields |  | 1.825 |  | 3.03 | 3.5 | Ground water contains high levels of iron and manganese which are oxidized by chlorine dosing | Low
164 |  |  | Emalahleni | Benicon/Speekfontein | Service levels to be verified. | Graph 164 | Exec Sum | Recomm | 1158 | 1211 |  | 1286 | 1353 | 1416 | 1462 |  | 0.017 | 0.018 |  | 0.022 | 0.031 | 0.036 | 0.037 | [5 empty] | 0 | 0 |  | 0.002 | 0.004 | 0.005 | 0.005 |  | 0.143 | 0.142 |  | 0.14 | 0.133 | 0.129 | 0.128 |  | BH | N/A |  |  | 0.16 | 0.16 | No info, but point source pollution sources nearby | Low/med
165 |  |  |  | Emalahleni _Springvalley | Emalahleni Dam over-utlised. Water loss of approximately 17.949 Million m³a (49.18Ml/d)! GW registered as 3.9mil m³/a, including mining. | Graph 165 | Exec Sum | Recomm |  |  | 336962 | 380353 | 399550 | 416908 | 429469 | 442413 |  |  | 36.4 | 41.9 | 44.9 | 47.6 | 48.9 | 50.3 |  | 295 |  | 311 |  |  | 0 | 0 | 7.052 | 7.052 | 7.052 | 7.052 |  |  | -16.41 | -5.73 | 5.051 | 0.723 | -3.148 | -6.81 | Emalahleni Dam |  | 28 | Concern in the quality of water in the Emalahleni areas | 13.1951 | 0 | Acceptable
166 |  |  |  | Ganala | Current source: Jericho Dam far (>100km) away, . Require study for future water supply options. | Graph 166 | Exec Sum | Recomm | 16108 | 17129 |  | 18996 | 20639 | 22007 | 22901 |  | 0.876 | 0.969 |  | 1.117 | 1.326 | 1.474 | 1.534 |  | 148.8923 |  | 183.3921 |  | 0 | 0.01 |  | 0.101 | 0.172 | 0.192 | 0.199 |  | 0.324 | 0.241 |  | 0.183 | 0.046 | -0.082 | -0.134 |  | Jericho Dam via Usutu Government Water Scheme | 2 | 2.3 of which 1.2 for domestic use | No info | N/A |  |  | Low
169 |  |  |  | Kamatsheka_Saaiwater_Klipoortjie | Water supplied via water tank. | Graph 169 | Exec Sum | Recomm | 1852 | 1910 |  | 1971 | 2033 | 2101 | 2163 |  | 0.097 | 0.103 |  | 0.111 | 0.125 | 0.135 | 0.139 |  | 143.3972 |  | 175.9414 |  | 0 | 0.001 |  | 0.01 | 0.016 | 0.018 | 0.018 |  | 0.006 | 0.001 |  | -0.101 | -0.109 | -0.118 | -0.121 |  | Assumed water tanks by Municipality |  | 0.103 | Good | N/A |  | GW quality assumed unacceptable for human consumption. | Low
167 |  |  |  | Rietspruit | Supply to the cluster to be institutionalised with the WSA. | Graph 167 | Exec Sum | Recomm | 3342 | 3553 |  | 3942 | 4284 | 4570 | 4756 |  | 0.206 | 0.227 |  | 0.261 | 0.307 | 0.34 | 0.354 |  | 168.7604 |  | 203.7845 |  | 0 | 0.002 |  | 0.023 | 0.04 | 0.044 | 0.046 |  | 0.889 | 0.87 |  | 0.858 | 0.828 | 0.799 | 0.787 |  | Rietspruit Dam | 1.28 | 1.095 | Tested, but not reported. | N/A |  |  | Med
168 |  |  |  | Rooiboom | Service levels to be verified. | Graph 168 | Exec Sum | Recomm | 2728 | 2738 |  | 2631 | 2557 | 2530 | 2550 |  | 0.04 | 0.041 |  | 0.046 | 0.058 | 0.064 | 0.065 |  | 40.1444 |  | 69.7884 |  | 0 | 0 |  | 0.004 | 0.008 | 0.008 | 0.008 |  | 0.001 | 0 |  | 0 | -0.01 | -0.015 | -0.016 |  | BH | N/A |  |  | 0.041 (unregistered) | 0.041 | No info | Low
170 |  |  |  | Vandyksdrif | Water supplied to be verified. | Graph 170 | Exec Sum | Recomm | 2356 | 2366 |  | 2272 | 2208 | 2185 | 2202 |  | 0.138 | 0.14 |  | 0.139 | 0.148 | 0.152 | 0.153 |  | 160.3665 |  | 190.2321 |  | 0 | 0.001 |  | 0.013 | 0.019 | 0.02 | 0.02 |  | 0 | 0 |  | 0.011 | 0.01 | 0.006 | 0.005 |  | BH | N/A |  |  | 0.138 | 0.138 | chlorine dosing required, high O&M | Low
171 |  |  | Steve Tshwete | Bankfontein |  | Graph 171 | Exec Sum | Recomm | 1945 | 1979 |  | 2048 | 2114 | 2194 | 2271 |  | 0.028 | 0.03 |  | 0.035 | 0.048 | 0.056 | 0.058 |  | 39.4138 |  | 69.9231 |  | 0 | 0 |  | 0.003 | 0.006 | 0.007 | 0.008 |  | 0.032 | 0.031 |  | 0.028 | 0.018 | 0.011 | 0.01 |  | BH | 0 | 0 | N/A | 0 | 0.6 | Acceptable | Low
172 |  |  |  | Doornkop |  | Graph 172 | Exec Sum | Recomm | 1812 | 1932 |  | 2133 | 2318 | 2458 | 2567 |  | 0.026 | 0.029 |  | 0.037 | 0.053 | 0.063 | 0.065 |  | 39.2848 |  | 69.3262 |  | 0 | 0 |  | 0.003 | 0.007 | 0.008 | 0.009 |  | 0.044 | 0.041 |  | 0.036 | 0.024 | 0.016 | 0.013 |  | BH | 0 | 0 | N/A | 0 | 0.07 | Acceptable | Low
173 |  |  |  | Hendrina | The Hendrina cluster is well supplied with water for the foreseeable future thanks to good management of the resource, and to the foresight that has resulted in the introduction of a processing plant for the reclamation of mine water to domestic standards. This is an important example of water reclamation technology in action. | Graph 173 | Exec Sum | Recomm | 15063 | 15859 |  | 17166 | 18379 | 19374 | 20149 |  | 0.877 | 0.955 |  | 1.073 | 1.249 | 1.369 | 1.424 |  | 159.4035 |  | 193.4934 |  | 0 | 0.01 |  | 0.097 | 0.162 | 0.178 | 0.185 |  | -0.347 | 0.679 |  | 0.649 | 0.539 | 0.434 | 0.386 |  | Nooitgedacht dam via Nkomati pipeline (transfer scheme),Optimum mine water reclamation | 1.625 | 1.625 | Unknown | N/A | 0 | N/A | High
174 |  |  |  | Middelburg |  | Graph 174 | Exec Sum | Recomm |  |  | 164326 | 184950 | 195618 | 205257 | 213049 | 221137 |  |  | 16.696 | 18.998 | 20.268 | 21.451 | 22.316 | 23.205 |  | 278.1736 |  | 287.2962 |  |  | 0 | 0 | 2.9 | 2.9 | 2.9 | 2.9 |  |  | 0.626 | -1.547 | 3.033 | 2.303 | 1.538 | 0.734 | Middelburg Dam, Athlone Dam, Pienaar Dam | 13.718 | 13.718 | Severe problems due to coal mining activity in the area | 0 | 0 | N/A
175 |  |  |  | Rietkuil |  | Graph 175 | Exec Sum | Recomm | 2611 | 2657 |  | 2749 | 2834 | 2941 | 3041 |  | 0.155 | 0.16 |  | 0.172 | 0.193 | 0.208 | 0.215 |  | 162.5304 |  | 193.5672 |  | 0 | 0.002 |  | 0.015 | 0.025 | 0.027 | 0.028 |  | 0.245 | 0.241 |  | 0.243 | 0.232 | 0.219 | 0.213 |  | Vyeboom / Nooitgedacht Dam (interbasin transfer) | 0.8 | 0.4 | Acceptable | 0 | 0 | N/A | Low
219 |  |  | Emakhazeni | Belfast | Licensed allocation higher than safe yield of dams. | Graph 219 | Exec Sum | Recomm | 11494 | 16764 |  |  |  |  | 27289 |  | 1.09 | 1.24 |  | 1.45 | 1.6 | 1.82 | 2.08 |  | 259.6361 |  | 208.6822 |  | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0.33 | 0.18 |  | -0.03 | -0.18 | -0.4 | -0.66 |  | Belfast Dam, Kraaispruit Dam | 2.683 | 1.095 | None reported | 0 | 0 | N/A | Med
176 |  | Nkangala | Thembisile Hani | KwaNdebele / Bronkhorstspruit |  | Graph 176 | Exec Sum | Recomm | 351889 | 357071 |  | 371395 | 385123 | 394788 | 402166 |  | 19.141 | 19.719 |  | 21.352 | 24.235 | 25.917 | 26.401 |  | 148.9254 |  | 179.7317 |  | 0 | 0.197 |  | 1.922 | 3.151 | 3.369 | 3.432 |  | 1.736 | 1.355 |  | 1.447 | 4.392 | 2.929 | 2.508 |  | Rand Water, Bronkhorstspruit Dam | 0 | 20.805 | No information | 0 | 0 | N/A | Low
176 |  |  |  | Langkloof |  | Graph 176 | Exec Sum | Recomm | 1850 | 1944 |  | 2162 | 2358 | 2438 | 2501 |  | 0.026 | 0.029 |  | 0.037 | 0.054 | 0.062 | 0.064 |  | 38.4779 |  | 70.061 |  | 0 | 0 |  | 0.003 | 0.007 | 0.008 | 0.008 |  | 0.051 | 0.048 |  | 0.043 | 0.03 | 0.023 | 0.022 |  | BH | 0 | 0 | N/A | 0.077 | 0.072 | No information | Low
26 |  |  | Dr JS Moroka | GaRamantshane |  | Graph 26 | Exec Sum | Recomm |  |  | 53846 | 54495 | 58416 | 59752 | 59991 | 60230 |  |  | 1.02 | 1.193 | 1.494 | 1.731 | 1.745 | 1.759 |  | 51.8629 |  | 79.9582 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 1.599 | 1.426 | 1.125 | 0.888 | 0.874 | 0.86 | Boreholes | - | - | N/A |  | 2.619 | Class 0-2
177 |  |  |  | Kameelpoort |  | Graph 177 | Exec Sum | Recomm | 2158 | 2257 |  | 2580 | 2888 | 2983 | 2997 |  | 0.088 | 0.096 |  | 0.115 | 0.144 | 0.157 | 0.158 |  | 111.6454 |  | 144.3378 |  | 0 | 0.09 |  | 0.85 | 1.376 | 1.452 | 1.452 |  | 0.04 | 0.111 |  | 0.41 | -0.211 | -0.716 | -0.716 |  | BH | 0 | 0 | N/A | 0 | 4.063 | GW contamination - likely due to pit latrines | Low
27 |  |  |  | Siyabuswa |  | Graph 27 | Exec Sum | Recomm | 214290 | 213141 |  | 212643 | 212467 | 212512 | 212530 |  | 8.96 | 8.979 |  | 9.439 | 10.587 | 11.167 | 11.168 |  | 114.4764 |  | 143.8682 |  | 0 | 0.11796 |  | 1.1313 | 1.8579 | 1.9701 | 1.9722 |  | 1.549 | 1.526 |  | 1.7003 | 0.66388 | -0.09186 | -0.10684 |  | Mkhombo Dam | 0 | 9 | 2005 information available only - good quality water | 0 | 0 | N/A | Low