## Slide 1: CONTINUATION OF WATER REQUIREMENTS AND AVAILABILITY RECONCILIATION STRATEGY FOR THE MBOMBELA MUNICIPAL AREA (Crocodile Sabie River System Reconciliation Strategy) Strategy Steering Committee Meeting StraSC 5 Tuesday, 6 October 2020

## Slide 2: CONTINUATION OF WATER REQUIREMENTS AND AVAILABILITY RECONCILIATION STRATEGY FOR THE MBOMBELA MUNICIPAL AREA (Crocodile Sabie River System Reconciliation Strategy) Strategy Steering Committee Meeting StraSC 5 Item 2: Attendance and Apologies

## Slide 3: CONTINUATION OF WATER REQUIREMENTS AND AVAILABILITY RECONCILIATION STRATEGY FOR THE MBOMBELA MUNICIPAL AREA (Crocodile Sabie River System Reconciliation Strategy) Strategy Steering Committee Meeting StraSC 5 Item 3: Acceptance of Agenda

## Slide 4: Agenda

## Slide 5: CONTINUATION OF WATER REQUIREMENTS AND AVAILABILITY RECONCILIATION STRATEGY FOR THE MBOMBELA MUNICIPAL AREA (Crocodile Sabie River System Reconciliation Strategy) Strategy Steering Committee Meeting StraSC 5 Item 4: Purpose of the Meeting

## Slide 6: Purpose
FINAL STRASC MEETING OF THIS PHASE OF STUDY
      Continuation Phase being Initiated
PRESENT DRAFT STRATEGY
PRESENT AND GAIN APPROVAL FOR INTERVENTION ACTION PLAN AND RESPONSIBILITIES

## Slide 7: CONTINUATION OF WATER REQUIREMENTS AND AVAILABILITY RECONCILIATION STRATEGY FOR THE MBOMBELA MUNICIPAL AREA (Crocodile Sabie River System Reconciliation Strategy) Strategy Steering Committee Meeting StraSC 5 Item 5&6: Approval of Minutes & Matters Arising

## Slide 8: Matters Arising: Action list

## Slide 9: Matters Arising: Action list

## Slide 10: Matters Arising: Action list

## Slide 11: CONTINUATION OF WATER REQUIREMENTS AND AVAILABILITY RECONCILIATION STRATEGY FOR THE MBOMBELA MUNICIPAL AREA (Crocodile Sabie River System Reconciliation Strategy) Strategy Steering Committee Meeting StraSC 5 Item 7: Presentation of Draft Reconciliation Strategy

## Slide 12: OVERVIEW: TOC
Exec Summary
      For document, expanded executive summary to be completed as separate deliverable
INTRODUCTION & CONTEXT
      Eg. with Catchment Management Strategy
SUMMARY CHAPTERS ON INDIVIDUAL TASKS DETAILED IN STAND ALONE TECHNICAL REPORTS
        Demographics & water requirements
        WCWDM
        Water Resources Availability

## Slide 13: OVERVIEW: TOC
CURRENT WATER BALANCES
AVAILABLE INTERVENTION OPTIONS
WATER BALANCES INCLUDING OPTIONS
PROPOSED ACTION PLAN
FUTURE STRATEGY UPDATES

## Slide 14: POSSIBLE INTERVENTION OPTIONS
REDUCE WATER USE
        WCWDM
        Reduce canal losses
        Remove alien vegetation
        Water use entitlement exchange from irrigation to urban
        Eliminating unlawful uses
        Compulsory licensing
        Water Reuse

## Slide 15: POSSIBLE INTERVENTION OPTIONS
INCREASE WATER SUPPLY
        Interim Restriction Rule to Benefit Priority (Primary) Users
        Efficient system operation
        Groundwater Development
        New Dam Construction & Existing Dam Raising
        Water transfers

## Slide 16: CURRENT WATER BALANCES

## Slide 17: Recap water resources

## Slide 18: CROCODILE SYSTEM: yields

## Slide 19: CROCODILE SYSTEM
allocation

## Slide 20: CROCODILE SYSTEM

## Slide 21: CROCODILE SYSTEM

## Slide 22
CROCODILE SYSTEM

## Slide 23: WHITE RIVEr SUB- SYSTEM

## Slide 24: WHITE RIVEr SUB- SYSTEM

## Slide 25: SABIE-SAND SYSTEM: Yields

## Slide 26: SABIE-SAND SYSTEM

## Slide 27: SABIE-SAND SYSTEM

## Slide 28: SABIE-SAND SYSTEM

## Slide 29: CONTINUATION OF WATER REQUIREMENTS AND AVAILABILITY RECONCILIATION STRATEGY FOR THE MBOMBELA MUNICIPAL AREA (Crocodile Sabie River System Reconciliation Strategy) Strategy Steering Committee Meeting StraSC 5 Item 8: Proposed Action Plan

## Slide 30: PROPOSED ACTION PLAN
INSTITUTIONAL RESPONSIBILITY
        DWS
        CMA
        Municipalities
        Other
TIME FRAMES

## Slide 31
Intervention | Primary Responsibility | Comments | Target Date (priority) | Savings Target
WCWDM | Local Municipalities: City of Mbombela LM, Bushbuckridge LM, Emakhazeni LM, Thaba Chweu LM Nkomazi LM | Bushbuckridge LM to finalise process to appoint service provider to assist with WCWDM activities City of Mbombela to continue with and increase existing WCWDM programme | High priority, implementation to continue/start immediately | Mbombela: 6.1 million m3/a by 2025 Bushbuckridge: 7 million m3/a by 2025
Reduce canal losses | City of Mbombela LM | Focus on canal supplying Nelspruit WTW and canals in the White River area | Medium priority level, as and when funds available | To be determined: 0.19 million m3/a on allocation from Longmere

## Slide 32
Intervention | Primary Responsibility | Comments | Target Date (priority) | Savings Target
Remove alien vegetation | Department of Environmental Affairs, WWF & Sanparks | Focus on areas upstream of Inyaka and Kwena Dams | High priority, implementation to continue/start immediately | Croc: 4 million m3/a Sabie: 3 million m3/a
Water use entitlement exchange from irrigation to urban | Department of Water and Sanitation: Directorate Water Use Authorisation City of Mbombela, IUCMA | Follow procedure for reallocation of water licenses as laid out by DWS. It is important that the reasons behind the delay in process are understood in order to streamline future applications | High priority, implementation to continue/start immediately 2021 for existing applications Ongoing for additional applications | 10 million m3/a till 2040

## Slide 33
Intervention | Primary Responsibility | Comments | Target Date (priority) | Savings Target
Eliminating unlawful uses | IUCMA | The process of V and V has taken significant time and requires completion before any action can take place on this intervention | High priority, implementation to continue/start immediately Target date: 2022 | To be confirmed
Compulsory licensing | IUCMA | Engage Stakeholders in Compulsory license process The process should be transparent and clearly defined objectives communicated | Target date: 2025 if required | N/A

## Slide 34
Intervention | Primary Responsibility | Comments | Target Date (priority) | Savings Target
Water Reuse | Bushbuckridge LM | This intervention is focused on the Bushbuckridge LM supply area and is designed to add additional resources after the implementation of a new dam | Medium priority level, when new dam constructed | 25% urban use (10 million m3/annum)
Interim Restriction Rule to Benefit Priority (Primary) Users | DWS: Directorate Water Resources Planning Systems, IUCMA | DWS has recently awarded a study to a professional service provider that can assist with annual operating analyses for three years. This study will produce dynamic operating rules | Immediate and ongoing | N/A

## Slide 35
Intervention | Primary Responsibility | Comments | Target Date (priority) | Savings Target
Efficient system operation | IUCMA and users | The existing system should not be allowed to fail, and should be expanded to additional key flow monitoring points throughout the catchments. It is specifically important to improve the flow monitoring in the White River in order to undertake a more accurate hydrological assessment. | Immediate and ongoing | N/A
Groundwater Development | IUCMA, Local Municipalities | This intervention is focused on the Bushbuckridge LM supply area, however, could also benefit the City of Mbombela if the detailed study indicates so | Ongoing | 10.5 million m3/annum in Sabie

## Slide 36
Intervention | Primary Responsibility | Comments | Target Date (priority) | Savings Target
New Dam Construction & Existing Dam Raising | DWS: Options Analyses (large dams) CoM (Primkop) | Tendering to be undertaken by implementing agent, Construction to be outsourced. | Urgent and requires fast tracking. Construction to be complete by 2030. | 78 million m3/annum for Croc 20 million m3/annum for Sabie
Water releases from Ngodwana Dam | DWS: NWRP CoMLM, Sappi | This option requires further investigation in terms of the water availability and viability of the release. Closer monitoring of Ngodwana dam should be undertaken in order to quantify the excess water available | Medium priority level | 5 million m3/annum

## Slide 37: FUTURE STRATEGY UPDATES
Incorporate new hydrology
Update modelled landuse
Water requirement projections and monitoring
Actual use: irrigation sector
Waps & cms
Groundwater
Bbr population
Strasc coordination & implementation tracking

## Slide 38: CONTINUATION OF WATER REQUIREMENTS AND AVAILABILITY RECONCILIATION STRATEGY FOR THE MBOMBELA MUNICIPAL AREA (Crocodile Sabie River System Reconciliation Strategy) Strategy Steering Committee Meeting StraSC 5 Item 9: Discussions