## Slide 1: IMPLEMENTATION AND MAINTENANCE OF THE WATER RECONCILIATION STRATEGY FOR THE WESTERN CAPE WATER SUPPLY SYSTEM Progress on Strategy Update Presentation to the SSC 27 November 2018

## Slide 2: Background
WCWSS Recon Strategy was first developed in 2007
  To facilitate the reconciliation pf predicted future water requirements with available resources
  Used as DSS framework for making timeous & informed recommendation on the identified interventions
Since completion of the strategy two phases of maintenance & implementation undertaken
Phase 3 of maintenance and implementation of the strategy commenced in January 2018

## Slide 3: Study Objective
To facilitate the reconciliation of predicted future water requirements with available supplies in the WCWSS
Update the strategy input data
  To ensure latest available information is used
  Strategy interventions are current pertinent & applicable

## Slide 4: Process flow chart of work package 2: Improve and update the Reconciliation Strategy
Population and demographics
Annual water requirements/Demand forecasts update
Climate and weather
Update supply/demand reconciliation
Monitor implementation of Water Reconciliation Options
Evaluate and update Reconciliation Strategy options
Update Annual Status Report
Pricing and rate Structure
Technological changes
Assessment of water resource availability
Surface &groundwater yield
Water resource classification
SSC Input
Validation and verification of water use
Socio-economic Assessment
Environmental Impact
WC/WDM Intervention measure

## Slide 5: Progress to date
The update of the drivers of water requirements have been undertaken
  Population & demographics
  Socio-economic profile of the WCWSS
  Historical water requirements
Future water requirements forecast
  Past forecasts were reviewed
  Scenario developed with input from stakeholders

## Slide 6: Progress to date
Updating of the available water supplies
  Extended the hydrology of the WCWSS to 2017
  Stochastic yield of the WCWSS has been updated
  Note: The calibration of the hydrology was not undertaken

## Slide 7: Progress to date
Water Balance Scenarios
  Development of water balance scenarios has been undertaken
  Additional water from drought intervention measures have been factored
  Required interventions identified
Resource Management issues
  Identified the need to revisit previous strategies