## Slide 1: Continuation of the Integrated Vaal River System Reconciliation Strategy Study: Phase2 8: Water Balance Status Tuesday, 27 February 2018

## Slide 2: Presentation Layout
Water balance status - SSC June 2015 recap
Revised information:
      Information from Annual Operating Analysis 2017:
        AMD Desalination date – January 2022
        High Water Requirement Scenarios - Rand Water
        Risk analysis of projected drought water restrictions
      Eskom water requirement projections - April 2017
      LHWP Phase 2 – transfer water by December 2025
Preliminary revised water balance
      Risk and difference analysis
2

## Slide 3
Chart: Years
| 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Historic water use | 435 | 460 | 495 | 530 | 565 | 590 | 635 | 660 | 695 | 730 | 765 | 800 | 875 | 720 | 660 | 670 | 695 | 720 | 765 | 824.767 | 870.864 | 979.581 | 1017.28 | 991.409 | 1074.45 | 933.93 | 971.485 | 1130.8362 | 1094.1232 | 1129.7 | 1113.99 | 1115.5616 | 1221.5623 | 1266.9083 | 1289.58 | 1305.39 | 1333.7064 | 1353.1694 | 1396.004 | 1410.721 | 1449.9968 | 1481.2145 | 1521.5951 | 1569.14
RW (2003 Questionnaire) | 1276.1965 | 1321.9216 | 1354.8433 | 1388.585 | 1423.167 | 1458.6102 | 1494.9361 | 1527.3488 | 1560.4643 | 1594.2977 | 1628.8648 | 1664.1813 | 1696.2432 | 1728.9227 | 1762.2319 | 1796.1829 | 1830.7879 | 1866.1221 | 1902.1382 | 1938.8495 | 1976.2693 | 2014.4113 | 2053.2894 | 2092.9179 | 2133.3112 | 2174.4841 | 2216.4517
VR No WC/WDM_Jan14 | 1521.6004 | 1533.2393 | 1571.6864 | 1597.1019 | 1621.8673 | 1646.2241 | 1670.4356 | 1694.7126 | 1716.8084 | 1735.9509 | 1755.1747 | 1775.015 | 1794.9398 | 1817.9238 | 1841.627 | 1865.4586 | 1889.4201 | 1913.5131
VR WC/WDM_Jan14 | 1521.6004 | 1477.9059 | 1497.237 | 1503.2711 | 1508.7544 | 1529.7711 | 1552.8272 | 1575.9237 | 1596.3563 | 1614.0587 | 1631.8202 | 1650.1687 | 1668.5715 | 1690.6234 | 1713.3553 | 1736.1931 | 1759.1375 | 1782.1891
RW_Oct_2014 | 1567.1477 | 1592.1097 | 1623.9519 | 1653.183 | 1682.9403 | 1713.2332 | 1744.0714 | 1775.4647 | 1806.5354 | 1838.1497 | 1870.3174 | 1903.0479 | 1936.3512 | 1965.3965 | 1994.8775 | 2024.8006 | 2055.1726 | 2086.0002
RW_Oct_2014_WDM_Reuse | 1567.1477 | 1536.7763 | 1537.3404 | 1545.7091 | 1554.703 | 1580.1749 | 1608.3765 | 1600.5833 | 1628.5096 | 1657.2028 | 1686.427 | 1716.1847 | 1746.485 | 1773.1171 | 1800.1456 | 1827.5939 | 1855.4927 | 1882.0598
Rand Water Supply Area Scenarios (2015)
Rand Water
(2003)
Rand Water Projection
(October 2014)
WC/WDM &
Tshwane Reuse
Dashed lines from January 2014 SSC
Historical Water Use
3

## Slide 4: Water Requirements
Chart: Net Water Requirements (million m3/annum)
| 2005 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
Estimate of Actual Use | 2820 | 2870.0408 | 2895.0612 | 2920.0816 | 2945.102 | 2963.5976 | 2982.0932 | 2996.6057
2014_High,No WC/WDM, remove unlawful, Eskom high | 2996.6061 | 2928.0904 | 2947.805 | 2957.5911 | 2978.076 | 2999.9273 | 3026.5904 | 3056.7316 | 3097.2797 | 3132.9941 | 3149.7175 | 3171.0858 | 3191.9342 | 3214.756 | 3236.8197 | 3258.0997 | 3279.5514 | 3300.8869 | 3314.4261 | 3329.4182 | 3344.1732 | 3357.7196 | 3372.3401 | 3386.3915 | 3403.3485 | 3418.903 | 3431.8606 | 3437.2829 | 3448.7255 | 3460.0181 | 3466.1009 | 3470.0088 | 3471.3957 | 3477.1447 | 3480.1758 | 3488.4453 | 3505.4432 | 3523.2615
2014_High,WC/WDM, remove unlawful, Eskom high | 2997.1458 | 2882.2843 | 2886.7645 | 2881.0507 | 2886.1349 | 2905.3379 | 2931.0991 | 2960.317 | 2999.4658 | 3034.0088 | 3049.5422 | 3069.6961 | 3089.3051 | 3111.5002 | 3132.9038 | 3153.5073 | 3174.2652 | 3194.889 | 3208.3115 | 3223.1799 | 3237.8227 | 3251.2683 | 3265.7995 | 3278.7856 | 3294.6665 | 3309.1342 | 3320.9941 | 3325.3078 | 3335.6306 | 3345.7922 | 3350.7328 | 3353.487 | 3353.7086 | 3358.2808 | 3360.1232 | 3367.1923 | 3382.9776 | 3399.5713
2014_Oct_High_Rand_Water,remove unlawful | 2820 | 2870.0408 | 2895.0612 | 2920.0816 | 2945.102 | 2963.5976 | 2982.0932 | 2996.6057 | 2970.8635 | 2985.8518 | 2998.3659 | 3022.4989 | 3048.6833 | 3080.1827 | 3115.5196 | 3162.5883 | 3207.374 | 3233.5121 | 3264.2672 | 3294.8605 | 3322.1698 | 3348.5088 | 3374.2992 | 3400.5007 | 3426.8296 | 3446.8509 | 3468.0468 | 3489.2027 | 3509.3508 | 3530.7769 | 3546.4127 | 3564.9699 | 3582.1406 | 3596.7305 | 3603.8016 | 3616.9093 | 3629.8838 | 3637.6653 | 3643.2888 | 3646.4084 | 3653.9076 | 3658.7063 | 3668.7612 | 3687.5621 | 3707.2017
2014 Oct High, Rand Water,WC/WDM, reuse, remove unlawful | 2820 | 2870.0408 | 2895.0612 | 2920.0816 | 2945.102 | 2963.5976 | 2982.0932 | 2996.6057 | 2924.8342 | 2912.4102 | 2907.8719 | 2915.0421 | 2937.0568 | 2966.1357 | 2962.5034 | 3006.6308 | 3048.6835 | 3072.0669 | 3100.0438 | 3127.8306 | 3153.016 | 3177.1997 | 3200.8178 | 3224.8544 | 3247.2367 | 3263.8733 | 3281.679 | 3299.4553 | 3316.2346 | 3334.3027 | 3345.6417 | 3359.8913 | 3372.7435 | 3383.0041 | 3385.7345 | 3394.4905 | 3403.1019 | 3406.5089 | 3407.7463 | 3406.4682 | 3409.5578 | 3409.9351 | 3415.5565 | 3429.9119 | 3448.3127
High Water Requirements
Unlawful Removed
High Water Requirement Scenario
Water Conservation and Demand Management
Unlawful Removed
Re-use (Tshwane)
Dotted Lines = January 2014 Analysis
(Net System Water Requirements)
4
Notes: This is the Net demand picture when we add all the other users
Explain

## Slide 5: Water Balance (June 2015)
Chart: Yield / Water Requirements (million m3/a)
| 2005 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
Estimate of Actual Use | 2820 | 2870.0408 | 2895.0612 | 2920.0816 | 2945.102 | 2963.5976 | 2982.0932 | 2996.6057
Existing Yield | 2986 | 2986 | 2986 | 2986 | 2986 | 2986 | 2986 | 2986 | 2986
2014_Oct_High_Rand_Water,remove unlawful | 2820 | 2870.0408 | 2895.0612 | 2920.0816 | 2945.102 | 2963.5976 | 2982.0932 | 2996.6057 | 2970.8635 | 2985.8518 | 2998.3659 | 3022.4989 | 3048.6833 | 3080.1827 | 3115.5196 | 3162.5883 | 3207.374 | 3233.5121 | 3264.2672 | 3294.8605 | 3322.1698 | 3348.5088 | 3374.2992 | 3400.5007 | 3426.8296 | 3446.8509 | 3468.0468 | 3489.2027 | 3509.3508 | 3530.7769 | 3546.4127 | 3564.9699 | 3582.1406 | 3596.7305 | 3603.8016 | 3616.9093 | 3629.8838 | 3637.6653 | 3643.2888 | 3646.4084 | 3653.9076 | 3658.7063 | 3668.7612 | 3687.5621 | 3707.2017
2014 Oct High, Rand Water,WC/WDM, reuse, remove unlawful | 2820 | 2870.0408 | 2895.0612 | 2920.0816 | 2945.102 | 2963.5976 | 2982.0932 | 2996.6057 | 2924.8342 | 2912.4102 | 2907.8719 | 2915.0421 | 2937.0568 | 2966.1357 | 2962.5034 | 3006.6308 | 3048.6835 | 3072.0669 | 3100.0438 | 3127.8306 | 3153.016 | 3177.1997 | 3200.8178 | 3224.8544 | 3247.2367 | 3263.8733 | 3281.679 | 3299.4553 | 3316.2346 | 3334.3027 | 3345.6417 | 3359.8913 | 3372.7435 | 3383.0041 | 3385.7345 | 3394.4905 | 3403.1019 | 3406.5089 | 3407.7463 | 3406.4682 | 3409.5578 | 3409.9351 | 3415.5565 | 3429.9119 | 3448.3127
First transfer from LHWP Phase II
System
Yield
Yield increases due to desalination of mine water
High with target WC/WDM | Desalination for urban use (from July 2018) | Unlawful removed | Re-use (Tshwane )
Short term availability due to current reservoir volumes
High water requirement
Unlawful removed
WC/WDM savings
Tshwane re-use
High water requirement
Unlawful removed
LHWP Phase II Yield
(Polihali Dam)
5
Elevated risks without WC/WDM savings

## Slide 6: Reconciliation Perspectives (2015)
The following are essential to maintain balance Until LHWP Phase 2 can deliver water:
Water Conservation & Water Demand Management
Eradication of Unlawful Use
Desalination and Re-use of Mine Water
Tshwane Re-use Project
6

## Slide 7: Strategic Interventions (2015)
Eradication of unlawful water use by 2015.
Implementation of WC/WDM (project 15%) – achieve target savings by 2017.
Implement phase 2 of LHWP by 2023.
Mine water effluent treatment and use by 2018.
Tshwane water augmentation project (re-use).
Plan yield replacement scheme in orange.
Manage uncertainties: Vaal, Crocodile and Olifants.
Implementation of integrated water quality management plan.
7

## Slide 8: Preliminary revised water balance (February 2018)

## Slide 9: Rand water demand projections for 2017/2018 AOA
Chart: Years
| 1970 | 1971 | 1972 | 1973 | 1974 | 1975 | 1976 | 1977 | 1978 | 1979 | 1980 | 1981 | 1982 | 1983 | 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016
Historic water use | 435 | 460 | 495 | 530 | 565 | 590 | 635 | 660 | 695 | 730 | 765 | 800 | 875 | 720 | 660 | 670 | 695 | 720 | 765 | 824.767 | 870.864 | 979.581 | 1017.28 | 991.409 | 1074.45 | 933.93 | 971.485 | 1130.8362 | 1094.1232 | 1129.7 | 1113.99 | 1115.5616 | 1221.5623 | 1266.9083 | 1289.58 | 1305.39 | 1333.7064 | 1353.1694 | 1396.004 | 1410.721 | 1449.9968 | 1481.2145 | 1521.5951 | 1569.14 | 1613.952 | 1628.7678 | 1543.23
RW (2003 Questionnaire) | 1276.1965 | 1321.9216 | 1354.8433 | 1388.585 | 1423.167 | 1458.6102 | 1494.9361 | 1527.3488 | 1560.4643 | 1594.2977 | 1628.8648 | 1664.1813 | 1696.2432 | 1728.9227 | 1762.2319 | 1796.1829 | 1830.7879 | 1866.1221 | 1902.1382 | 1938.8495 | 1976.2693 | 2014.4113 | 2053.2894 | 2092.9179 | 2133.3112 | 2174.4841 | 2216.4517
2015/2016 AOA_A | 1639.0235 | 1671.0854 | 1703.765 | 1737.0742 | 1771.0251 | 1805.6301 | 1840.9643 | 1876.9805 | 1913.6918 | 1951.1116 | 1989.2535 | 2028.1317 | 2067.7602 | 2108.1535 | 2149.3264 | 2191.2939
2017/2018 AOA_A | 1703.765 | 1737.0742 | 1771.0251 | 1805.6301 | 1840.9643 | 1876.9805 | 1913.6918 | 1951.1116 | 1989.2535 | 2028.1317 | 2067.7602 | 2108.1535 | 2149.3264 | 2191.2939
High Water Requirement
Scenario
Reduction in water use due to restrictions
June 2015
Projection scenarios

## Slide 10: Eskom (Total for Integrated Vaal River System)
180 million m3/a
Reduction
(April 2017 projection)
Desalination of AMD January 2022

## Slide 11: Water Requirements
Chart: Yield / Water Requirements (million m3/a)
| 2005 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
Estimate of Actual Use | 2820 | 2870.0408 | 2895.0612 | 2920.0816 | 2945.102 | 2963.5976 | 2982.0932 | 2996.6057
2014_Oct_High_Rand_Water,remove unlawful | 2820 | 2870.0408 | 2895.0612 | 2920.0816 | 2945.102 | 2963.5976 | 2982.0932 | 2996.6057 | 2970.8635 | 2985.8518 | 2998.3659 | 3022.4989 | 3048.6833 | 3080.1827 | 3115.5196 | 3162.5883 | 3207.374 | 3233.5121 | 3264.2672 | 3294.8605 | 3322.1698 | 3348.5088 | 3374.2992 | 3400.5007 | 3426.8296 | 3446.8509 | 3468.0468 | 3489.2027 | 3509.3508 | 3530.7769 | 3546.4127 | 3564.9699 | 3582.1406 | 3596.7305 | 3603.8016 | 3616.9093 | 3629.8838 | 3637.6653 | 3643.2888 | 3646.4084 | 3653.9076 | 3658.7063 | 3668.7612 | 3687.5621 | 3707.2017
2014 Oct High, Rand Water,WC/WDM, reuse, remove unlawful | 2820 | 2870.0408 | 2895.0612 | 2920.0816 | 2945.102 | 2963.5976 | 2982.0932 | 2996.6057 | 2924.8342 | 2912.4102 | 2907.8719 | 2915.0421 | 2937.0568 | 2966.1357 | 2962.5034 | 3006.6308 | 3048.6835 | 3072.0669 | 3100.0438 | 3127.8306 | 3153.016 | 3177.1997 | 3200.8178 | 3224.8544 | 3247.2367 | 3263.8733 | 3281.679 | 3299.4553 | 3316.2346 | 3334.3027 | 3345.6417 | 3359.8913 | 3372.7435 | 3383.0041 | 3385.7345 | 3394.4905 | 3403.1019 | 3406.5089 | 3407.7463 | 3406.4682 | 3409.5578 | 3409.9351 | 3415.5565 | 3429.9119 | 3448.3127
Feb 2018 LHWP Rule > AOA 2017 (high,relaistic - no WC/WDM) | 3022.4989 | 3048.6833 | 3066.2659 | 3090.7543 | 3121.4073 | 3171.2642 | 3201.9603 | 3232.9946 | 3257.3714 | 3290.2035 | 3323.7284 | 3351.1073 | 3369.8655 | 3389.9305 | 3393.0176 | 3395.4082 | 3406.2988 | 3414.8884 | 3429.5961 | 3448.4301 | 3467.4495 | 3486.6549 | 3506.047 | 3525.626 | 3545.4671 | 3565.5725 | 3585.9459 | 3606.5915 | 3627.5131 | 3648.2687 | 3669.3086 | 3690.6373 | 3712.2592 | 3734.1785
Feb 2018 LHWP Rule > AOA 2017 (high,relaistic - with WC/WDM) | 3022.4989 | 3022.4989 | 3022.4989 | 3022.4989 | 3022.4989 | 3026.2642 | 3040.515 | 3068.7712 | 3090.3415 | 3121.0497 | 3152.4194 | 3177.6259 | 3194.2191 | 3210.3376 | 3210.04 | 3209.0405 | 3216.5514 | 3221.7721 | 3233.1219 | 3247.6591 | 3262.3709 | 3277.2579 | 3292.3205 | 3307.559 | 3323.0484 | 3338.7906 | 3354.7895 | 3371.049 | 3387.5729 | 3403.9189 | 3420.5374 | 3437.4327 | 3454.6089 | 3475.2896
High Water Requirements
Unlawful Removed
High Water Requirement Scenario
Water Conservation and Demand Management
Unlawful Removed
Re-use (Tshwane)
Dotted Lines = June 2015 Analysis
(Net System Water Requirements)
11
Notes: This is the Net demand picture when we add all the other users
Explain

## Slide 12: Storage Projection of the Komati System (Risk analysis AOA June 2017)
36 | 38 | 39 | 37 | 40 | 44 | 48 | 49 | 53 | 59 | 65
Unutilised Storage due to reduction in Eskom water requirements
Unutilised Yield @ (1:100 RI)
Vygeboom and Nooitgedacht reservoirs

## Slide 13: Storage Projection Bloemhof Dam (Risk analysis AOA June 2017)
Unutilised storage due to dilution releases from Vaal Dam and return flows
DSV
Desalination of AMD January 2022

## Slide 14
Risk of Drought Restrictions
(NB: Needs adjustments for unused storage in Komati and Bloemhof dams)
0.5 %
min %
Min % 0.5 % 1.0 % 5.0 % 25 % 50 % 75 % 95 %
99 % 99.5 % Max %
Violation of Risk Criteria
1 %
5 %
By 2024 Level 1 Curtailment occurs at 5% risk:
50% Irrigation Curtailment
30% Urban Curtailment
High Demand Scenario
Desalination Jan-2022
LHWP not implemented

## Slide 15: Preliminary Water Balance (February 2018)
Chart: Yield / Water Requirements (million m3/a)
| 2005 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013
Estimate of Actual Use | 2820 | 2870.0408 | 2895.0612 | 2920.0816 | 2945.102 | 2963.5976 | 2982.0932 | 2996.6057
Existing Yield | 2986 | 2986 | 2986 | 2986 | 2986 | 2986 | 2986 | 2986 | 2986
Feb 2018 LHWP Rule > AOA 2017 (high,relaistic - no WC/WDM) | 3022.4989 | 3048.6833 | 3066.2659 | 3090.7543 | 3121.4073 | 3171.2642 | 3201.9603 | 3232.9946 | 3257.3714 | 3290.2035 | 3323.7284 | 3351.1073 | 3369.8655 | 3389.9305 | 3393.0176 | 3395.4082 | 3406.2988 | 3414.8884 | 3429.5961 | 3448.4301 | 3467.4495 | 3486.6549 | 3506.047 | 3525.626 | 3545.4671 | 3565.5725 | 3585.9459 | 3606.5915 | 3627.5131 | 3648.2687 | 3669.3086 | 3690.6373 | 3712.2592 | 3734.1785
Feb 2018 LHWP Rule > AOA 2017 (high,relaistic - with WC/WDM) | 3022.4989 | 3022.4989 | 3022.4989 | 3022.4989 | 3022.4989 | 3026.2642 | 3040.515 | 3068.7712 | 3090.3415 | 3121.0497 | 3152.4194 | 3177.6259 | 3194.2191 | 3210.3376 | 3210.04 | 3209.0405 | 3216.5514 | 3221.7721 | 3233.1219 | 3247.6591 | 3262.3709 | 3277.2579 | 3292.3205 | 3307.559 | 3323.0484 | 3338.7906 | 3354.7895 | 3371.049 | 3387.5729 | 3403.9189 | 3420.5374 | 3437.4327 | 3454.6089 | 3475.2896
System yield (LHWP 2, Komati unused): | 2986 | 2986 | 2986 | 2986 | 2986 | 2986 | 2986 | 2986 | 2986 | 2986 | 2986 | 2986 | 2966 | 2946 | 2900.449 | 2887.972 | 2906.752 | 2949.438 | 2946.284 | 2941.512 | 3156.59 | 3374.094 | 3370.348 | 3363.811 | 3358.029 | 3352.184 | 3347.864 | 3346.21 | 3344.437 | 3342.963 | 3342.963 | 3342.963 | 3342.963 | 3342.963 | 3342.963 | 3342.963 | 3342.963 | 3342.963 | 3342.963 | 3342.963 | 3342.963 | 3342.963 | 3342.963 | 3342.963 | 3342.963
System yield (Komati unused, dilution): | 2986 | 2986 | 2986 | 2986 | 2986 | 2986 | 2986 | 2986 | 2986 | 2986 | 2986 | 2986 | 2966 | 2946 | 2900.449 | 2887.972 | 2906.752 | 2949.438 | 2946.284 | 2941.512 | 2938.09 | 2937.094 | 2933.348 | 2926.811 | 2921.029 | 2915.184 | 2910.864 | 2909.21 | 2907.437 | 2905.963 | 2905.963 | 2905.963 | 2905.963 | 2905.963 | 2905.963 | 2905.963 | 2905.963 | 2905.963 | 2905.963 | 2905.963 | 2905.963 | 2905.963 | 2905.963 | 2905.963 | 2905.963
First transfer from LHWP Phase II – Dec 2025
System
Yield
Yield increases due to desalination of mine water
High with target WC/WDM | Desalination for urban use (from January 2022) | Unlawful removed | Re-use (Tshwane )
High water requirement
Unlawful removed
WC/WDM savings
Tshwane re-use
High water requirement
Unlawful removed
LHWP Phase II Yield
(Polihali Dam)
15
Elevated risks without WC/WDM savings
Violation of risk criteria.
Elevated risk of restrictions.
Notes: System yield accounts for:
  Reduction due to excessive dilution prior to desalination of AMD.
  Unused storage (yield) in Komati River System.

## Slide 16: Observations
Reduction in system yield due to:
      Excessive dilution releases from Vaal Dam until desalination of AMD (January 2022.)
      Unused yield in Komati Subsystem due to reduction in Eskom power station water requirements.
Elevated risks of restrictions prior to implementation of LHWP Phase 2.
Further augmentation needed by:
      2030 - High Water Requirement Scenario
      2043 - High with WC\WDM savings
16

## Slide 17: Reconciliation Perspectives (2015)
Water Conservation & Water Demand Management, Eradication of Unlawful Use, Desalination and Re-use of Mine Water as well as Tshwane Re-use Project are all essential to reduce the risk of restrictions Until LHWP Phase 2 can deliver water.
Prepare for augmentation from the Thukela Water Project.
      Revive Feasibility Study
17

## Slide 18: Activities
Update irrigation water use with current V&V information.
Review yield capability of Thukela Water Project.
Track progress of interventions:
      Implementation of LHWP Phase 2.
      Mine water effluent treatment.
      Tshwane water augmentation project (re-use).
      WC/WDM savings.
Plan yield replacement scheme in orange.
Integration with Crocodile (west) and Olifants reconciliation interventions.
Implement integrated water quality management plan.
18