## Appendix C
Appendix C
Detailed breakdown of Spatial Data Attributes for the Total Water Services Master Plan and WSDP Module 2 Geodatabase.
2017-03-31

## ProvBnd
ProvBnd: | Provincial Boundary
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province Name
ProvCode | Text | Provincial Code

## DMBnd
DMBnd: | District Municipal Boundary
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province Name
ProvCode | Text | Provincial Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code

## WSABnd
WSABnd: | WSA Boundary (new feature)
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province Name
ProvCode | Text | Provincial Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
WSA | Text | WSA Name
Type | Text | WSA Type (Metro, DM, LM, DMA, NP)
AssetRMP | Text | Is there an Asset Register Monitoring Programme ? | Yes No
DisMP | Text | Is there a disaster management plan ? | Yes No
WatQuP | Text | Is there a Water Quality Plan ? | Yes No
UntrEfP | Text | Is there a plan in place to manage untreated effluent ? | Yes No

## LMBnd
LMBnd: | Local Municipal Boundary
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province Name
ProvCode | Text | Provincial Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code

## Settlements
Settlements: | Settlement Boundries
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province Name
ProvCode | Text | Provincial Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code
WSA | Text | Water Service Authority
WSchName | Text | Water Scheme Name
WSchNum | Text | Water Scheme Number
WSchID | Text | Water Scheme ID
SSchName | Text | Sanitation Scheme Name
SSchNum | Text | Sanitation Scheme Number
SSchID | Text | Sanitation Scheme ID
SetlCode | Text | Settlement Code
SetlName | Text | Settlement Name
SetlMainTp | Text | Settlement Main Type | Urban Rural
SetlType | Text | Settlement Type | Metropolitan Area Urban - Formal Town Urban - Former Township Rural - Dense Village > 5000 Rural - Small Village <= 5000 Rural Scattered Rural Scattered Dense Rural Scattered Low Density Rural Scattered Very Low Density Farming (People living on farms) Urban - Informal Settlements (Squatter Camp) Rural - Informal Settlements (Squatter Camp) Working Towns and Service Centres - Mines, Prisons etc. Unknown
PopDec10 | Long Integer | Population December 2010
HHDec10 | Long Integer | Number of Households December 2010
HHSize10 | Long Integer | Household Size December 2010
PopDec11 | Long Integer | Population December 2011
HHDec11 | Long Integer | Number of Households December 2011
HHSize11 | Double | Household Size December 2011
TS11Visi | Text | Temporary field – Settlement visited on new 2011 satellite images | Yes /No
TS11Edit | Text | Temporary field – Settlement edited on new 2011 satellite images | Yes /No
TDwelC11 | Double | Dwelling count of extensions on new 2011 satellite images
RevHH1 | Double | Revised Households 2011. (Based on HH 2010 + Dwelling count)
RevPop11 | Double | Revised population 2011 (Based on revised HH 2011 X HH size in GDB)
MigHH13 | Double | Migrated Household to 2013 based on STASA SA population growth figures
MigPop13 | Double | Migrated population to 2013 based on STASA SA population growth figures
DirBLWHH | Double | Direct settlement backlog water house holds. Total house hold of settlement with a water need (irrelevant the type of need)
DirBLWP | Double | Direct settlement backlog water population. Total population of settlement with a water need (irrelevant the type of need)
DirBLSHH | Double | Direct settlement backlog sanitation house holds. Total house hold of settlement with a sanitation need (irrelevant the type of need)
DirBLSP | Double | Direct settlement backlog sanitation population. Total population of settlement with a sanitation need (irrelevant the type of need)
WCatNum | Text | Water Category Number | 1 - 10
WCatDef | Text | Water Category Definition | Adequate: Formal Adequate: Informal Adequate: Shared Services Below: No Services Informal Below: Water Resources Below: O&M Needs Below: Infra Needs Below: Infra & O&M Needs Below: Infra, O&M & Resource Needs Below: No Services Formal
SCatNum | Text | Sanitation Category Number | 1 - 10
SCatDef | Text | Sanitation Category Definition | Adequate: Formal Adequate: Informal Adequate: Shared Services Below: No Services Informal Below: Water Resources Below: O&M Needs Below: Infra Needs Below: Infra & O&M Needs Below: Infra, O&M & Resource Needs Below: No Services Formal
WHH_AH | Long Integer | Water Households Adequate House Connections
WPerc_AH | Double | Water Percentage Adequate House Connections
WHH_AY | Long Integer | Water Households Adequate Yard Connections
WPerc_AY | Double | Water Percentage Adequate Yard Connections
WHH_AS | Long Integer | Water Households Adequate Stand Pipes
WPerc_AS | Double | Water Percentage Adequate Stand Pipes
WHH_AINF | Long Integer | Water Households Adequate Informal
WPerc_AINF | Double | Water Percentage Adequate Informal
WHH_S | Long Integer | Water Households Adequate Shared Services
WPerc_S | Double | Water Percentage Adequate Shared Services
WHH_INFN | Long Integer | Water Households Informal None
WPerc_INFN | Double | Water Percentage Informal None
WHH_R | Long Integer | Water Households Resource Needs
WPerc_R | Double | Water Percentage Resource Needs
WHH_OM | Long Integer | Water Households O&M Needs
WPerc_OM | Double | Water Percentage O&M Needs
WHH_IU | Long Integer | Water Households Infrastucture Needs Upgrade
WPerc_IU | Double | Water Percentage Infrastucture Needs Upgrade
WHH_IE | Long Integer | Water Households Infrastucture Needs Extensions
WPerc_IE | Double | Water Percentage Infrastucture Needs Extensions
WHH_IR | Long Integer | Water Households Infrastucture Needs Refurbishment
WPerc_IR | Double | Water Percentage Infrastucture Needs Refurbishment
WHH_N | Long Integer | Water Households No Services
WPerc_N | Double | Water Percentage No Services
SHH_AW | Long Integer | Sanitation Households Adequate Waterborne
SPerc_AW | Double | Sanitation Percentage Adequate Waterborne
SHH_ALF | Long Integer | Sanitation Households Adequate Low Flush
SPerc_ALF | Double | Sanitation Percentage Adequate Low Flush
SHH_AS | Long Integer | Sanitation Households Adequate Septic Tank
SPerc_AS | Double | Sanitation Percentage Adequate Septic Tank
SHH_ANW | Long Integer | Sanitation Households Adequate Non Waterborne
SPerc_ANW | Double | Sanitation Percentage Adequate Non Waterborne
SHH_AINF | Long Integer | Sanitation Households Adequate Informal
SPerc_AINF | Double | Sanitation Percentage Adequate Informal
SHH_S | Long Integer | Sanitation Households Adequate Shared Services
SPerc_S | Double | Sanitation Percentage Adequate Shared Services
SHH_INFN | Long Integer | Sanitation Households Informal None
SPerc_INFN | Double | Sanitation Percentage Informal None
SHH_R | Long Integer | Sanitation Households Resource Needs
SPerc_R | Double | Sanitation Percentage Resource Needs
SHH_OM | Long Integer | Sanitation Households O&M Needs
SPerc_OM | Double | Sanitation Percentage O&M Needs
SHH_IU | Long Integer | Sanitation Households Infrastucture Needs Upgrade
SPerc_IU | Double | Sanitation Percentage Infrastucture Needs Upgrade
SHH_IE | Long Integer | Sanitation Households Infrastucture Needs Extensions
SPerc_IE | Double | Sanitation Percentage Infrastucture Needs Extensions
SHH_IR | Long Integer | Sanitation Households Infrastucture Needs Refurbishment
SPerc_IR | Double | Sanitation Percentage Infrastucture Needs Refurbishment
SHH_N | Long Integer | Sanitation Households No Services
SPerc_N | Double | Sanitation Percentage No Services
NoFormHH | Double | Settlement house hold with no formal infrastructure, previous APPS class 1. Should be the same as sum of needs category 10 and 4
NoFormP | Double | Settlement population with no formal infrastructure. As above.
NoFormC | Long Integer | Cost per HH to eradicate backlog
InfExtHH | Double | Settlement Total HH requiring extension to existing Infrastructure, previous APPS class 2. Should be the same as listed in Infrastructure Extension Field "WHH_IE"with no formal infrastructure.
InfExtP | Double | Settlement Total Population requiring existing to existing Infrastructure. As above.
InfExtC | Long Integer | Cost per HH to eradicate backlog
FunctHH | Double | Settlement Total HH with access to Infrastructure but no access to water due to Functionality problems, previous APPS class 3. Data must be derived from analysis of Total HH listed in Infrastucture Refurbishment Field "WHH_IR" / Infrastucture Upgrade Needs "WHH_IU" / Water Households O&M Needs "WHH_OM" fields.
FunctP | Double | Settlement Total population with access to Infrastructure but no access to water due to Functionality problems. As above.
FunctC | Long Integer | Cost per HH to eradicate backlog
SourceHH | Double | Settlement Total HH with access to Infrastructure but no access to water due to Source problems, previous APPS class 4. Should be the same as category 5 Total HH listed in Water Households Resource Needs field "WHH_R" .
SourceP | Double | Settlement Total Population with access to Infrastructure but no access to water due to Source problems. As above.
SourceC | Long Integer | Cost per HH to eradicate backlog
IRSTpHH | Double | Intervention requirement Single type settlement households (individual settlement with rudimentary type solution)
IRSTpP | Double | Intervention requirement Single type settlement Population (individual settlement with rudimentary type solution)
IRSTpC | Long Integer | Cost per HH to eradicate backlog
IRNwScHH | Double | Intervention requirement New Scheme development households (Not part of an existing scheme)
IRNwScP | Double | Intervention requirement New Scheme development Population (Not part of an existing scheme)
IRNwScC | Long Integer | Cost per HH to eradicate backlog
IRExScHH | Double | Intervention requirement Existing Scheme refurbishment Households (Part of an existing scheme)
IRExScP | Double | Intervention requirement Existing Scheme refurbishment Population (Part of an existing scheme)
IRExScC | Long Integer | Cost per HH to eradicate backlog
IRFunctHH | Double | Intervention requirement Functionality Households
IRFunctP | Double | Intervention requirement Functionality Population
IRFunctC | Long Integer | Cost per HH to eradicate backlog
IRCDMHH | Double | Intervention requirement Conservation & Demand Management households
IRCDMP | Double | Intervention requirement Conservation & Demand Management population
IRCDMC | Long Integer | Cost per HH to eradicate backlog
WOMCHH | Long Integer | Cost per HH to eradicate Water O&M Needs
SNoFormHH | Long Integer | Settlement household with no formal sanitation infrastructure. Should be the same as sum of needs category 10 and 4
SNoFormP | Long Integer | Settlement population with no formal sanitation infrastructure. As above.
SNoFormC | Long Integer | Cost per HH to eradicate backlog
SIRNwScHH | Long Integer | Sanitation Intervention requirement New Scheme development households (Not part of an existing scheme)
SIRNwScP | Long Integer | Sanitation Intervention requirement New Scheme development Population (Not part of an existing scheme)
SIRNwScC | Long Integer | Cost per HH to eradicate backlog
SUndBHH | Long Integer | Households to be upgraded from DRY Sanitation: Buckets
SUndBP | Long Integer | Population to be upgraded from DRY Sanitation: Buckets
SUndBC | Long Integer | Cost per HH to eradicate backlog
SUndPitH | Long Integer | Households to be upgraded from DRY Sanitation: Pit
SUndPitP | Long Integer | Population to be upgraded from DRY Sanitation: Pit
SUndPitC | Long Integer | Cost per HH to eradicate backlog
SUndVIPH | Long Integer | Households to be upgraded from DRY Sanitation: VIP
SUndVIPP | Long Integer | Population to be upgraded from DRY Sanitation: VIP
SUndVIPC | Long Integer | Cost per HH to eradicate backlog
SUpGVIPH | Long Integer | Households to be upgraded to: VIP
SUpGVIPP | Long Integer | Population to be upgraded to: VIP
SUpgVIPC | Long Integer | Cost per HH to eradicate backlog
SUpGWBHH | Long Integer | Households to be upgraded to WET Sanitation: Waterborne
SUpGWBP | Long Integer | Population to be upgraded to WET Sanitation: Waterborne
SUpGWBC | Long Integer | Cost per HH to eradicate backlog
SOMCHH | Long Integer | Cost per HH to eradicate Sanitation O&M Needs
HHpComSu | Double | Household % Receiving water on Communal Supply basis
HHpCntrV | Double | Household % Receiving water on Controlled volume Supply basis
HHpUnCV | Double | Household % Receiving water on Uncontrolled volume Supply basis
WMetereP | Double | The % of the settlement water metered
WBilledP | Double | The % of the settlement water billed
WatUse | Text | Conjunctive use of surface – and groundwater | Ground Water Surface Water Combination (Conjuctive Use)
ArtRech | Text | Artificial Recharge taking place | Yes, No
RainWHar | Text | Rain Water Harvesting taking place | Yes, No
HHWFBSRq | Double | Number of units requiring free basic services (Water)
HHWFBSRs | Double | Number of units received free basic services (Water)
HHWFBSTd | Double | Number of units Targeted for free basic services (Water)
HHSFBSRq | Double | Number of units requiring free basic services (Sanitation)
HHSFBSRs | Double | Number of units received free basic services (Sanitation)
HHSFBSTd | Double | Number of units Targeted for free basic services(Sanitation)
RStrTap | Double | Reticulation Total No of Street Taps. % of Households
RErfCon | Double | Reticulation Total No of Erf Connections % of Households
RHousCon | Double | Reticulation Total No of House Connections % of Households

## Settlements (2)
Settlements: | Settlement Boundries
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province Name
ProvCode | Text | Provincial Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code
WSA | Text | Water Service Authority
WSchName | Text | Water Scheme Name
WSchNum | Text | Water Scheme Number
WSchID | Text | Water Scheme ID
SSchName | Text | Sanitation Scheme Name
SSchNum | Text | Sanitation Scheme Number
SSchID | Text | Sanitation Scheme ID
SetlCode | Text | Settlement Code
SetlName | Text | Settlement Name
SetlMainTp | Text | Settlement Main Type | Urban Rural
SetlType | Text | Settlement Type | Metropolitan Area Urban - Formal Town Urban - Former Township Rural - Dense Village > 5000 Rural - Small Village <= 5000 Rural Scattered Rural Scattered Dense Rural Scattered Low Density Rural Scattered Very Low Density Farming (People living on farms) Urban - Informal Settlements (Squatter Camp) Rural - Informal Settlements (Squatter Camp) Working Towns and Service Centres - Mines, Prisons etc. Unknown
PopDec10 | Long Integer | Population December 2010
HHDec10 | Long Integer | Number of Households December 2010
HHSize10 | Long Integer | Household Size December 2010
PopDec11 | Long Integer | Population December 2011
HHDec11 | Long Integer | Number of Households December 2011
HHSize11 | Double | Household Size December 2011
TS11Visi | Text | Temporary field – Settlement visited on new 2011 satellite images | Yes /No
TS11Edit | Text | Temporary field – Settlement edited on new 2011 satellite images | Yes /No
TDwelC11 | Double | Dwelling count of extensions on new 2011 satellite images
RevHH1 | Double | Revised Households 2011. (Based on HH 2010 + Dwelling count)
RevPop11 | Double | Revised population 2011 (Based on revised HH 2011 X HH size in GDB)
MigHH13 | Double | Migrated Household to 2013 based on STASA SA population growth figures
MigPop13 | Double | Migrated population to 2013 based on STASA SA population growth figures
DirBLWHH | Double | Direct settlement backlog water house holds. Total house hold of settlement with a water need (irrelevant the type of need)
DirBLWP | Double | Direct settlement backlog water population. Total population of settlement with a water need (irrelevant the type of need)
DirBLSHH | Double | Direct settlement backlog sanitation house holds. Total house hold of settlement with a sanitation need (irrelevant the type of need)
DirBLSP | Double | Direct settlement backlog sanitation population. Total population of settlement with a sanitation need (irrelevant the type of need)
WCatNum | Text | Water Category Number | 1 - 10
WCatDef | Text | Water Category Definition | Adequate: Formal Adequate: Informal Adequate: Shared Services Below: No Services Informal Below: Water Resources Below: O&M Needs Below: Infra Needs Below: Infra & O&M Needs Below: Infra, O&M & Resource Needs Below: No Services Formal
SCatNum | Text | Sanitation Category Number | 1 - 10
SCatDef | Text | Sanitation Category Definition | Adequate: Formal Adequate: Informal Adequate: Shared Services Below: No Services Informal Below: Water Resources Below: O&M Needs Below: Infra Needs Below: Infra & O&M Needs Below: Infra, O&M & Resource Needs Below: No Services Formal
WHH_AH | Long Integer | Water Households Adequate House Connections | Water Gategory
WHH_AY | Long Integer | Water Households Adequate Yard Connections
WHH_AS | Long Integer | Water Households Adequate Stand Pipes
WHH_AINF | Long Integer | Water Households Adequate Informal
WHH_S | Long Integer | Water Households Adequate Shared Services
WHH_INFN | Long Integer | Water Households Informal None
WHH_R | Long Integer | Water Households Resource Needs
WHH_OM | Long Integer | Water Households O&M Needs
WHH_IU | Long Integer | Water Households Infrastucture Needs Upgrade
WHH_IE | Long Integer | Water Households Infrastucture Needs Extensions
WHH_IR | Long Integer | Water Households Infrastucture Needs Refurbishment
WHH_N | Long Integer | Water Households No Services
SHH_AW | Long Integer | Sanitation Households Adequate Waterborne | Sanitation Category
SHH_ALF | Long Integer | Sanitation Households Adequate Low Flush
SHH_AS | Long Integer | Sanitation Households Adequate Septic Tank
SHH_ANW | Long Integer | Sanitation Households Adequate Non Waterborne
SHH_AINF | Long Integer | Sanitation Households Adequate Informal
SHH_S | Long Integer | Sanitation Households Adequate Shared Services
SHH_INFN | Long Integer | Sanitation Households Informal None
SHH_R | Long Integer | Sanitation Households Resource Needs
SHH_OM | Long Integer | Sanitation Households O&M Needs
SHH_IU | Long Integer | Sanitation Households Infrastucture Needs Upgrade
SHH_IE | Long Integer | Sanitation Households Infrastucture Needs Extensions
SHH_IR | Long Integer | Sanitation Households Infrastucture Needs Refurbishment
SHH_N | Long Integer | Sanitation Households No Services
NoFormHH | Double | Settlement house hold with no formal infrastructure, previous APPS class 1. Should be the same as sum of needs category 10 and 4 | Backlog Solutions
InfExtHH | Double | Settlement Total HH requiring extension to existing Infrastructure, previous APPS class 2. Should be the same as listed in Infrastructure Extension Field "WHH_IE"with no formal infrastructure.
FunctHH | Double | Settlement Total HH with access to Infrastructure but no access to water due to Functionality problems, previous APPS class 3. Data must be derived from analysis of Total HH listed in Infrastucture Refurbishment Field "WHH_IR" / Infrastucture Upgrade Needs "WHH_IU" / Water Households O&M Needs "WHH_OM" fields.
SourceHH | Double | Settlement Total HH with access to Infrastructure but no access to water due to Source problems, previous APPS class 4. Should be the same as category 5 Total HH listed in Water Households Resource Needs field "WHH_R" .
IRSTpHH | Double | Intervention requirement Single type settlement households (individual settlement with rudimentary type solution) | Water Intervention requirements
IRSTpP | Double | Intervention requirement Single type settlement Population (individual settlement with rudimentary type solution)
IRNwScHH | Double | Intervention requirement New Scheme development households (Not part of an existing scheme)
IRExScHH | Double | Intervention requirement Existing Scheme refurbishment Households (Part of an existing scheme)
IRFunctHH | Double | Intervention requirement Functionality Households
IRCDMHH | Double | Intervention requirement Conservation & Demand Management households
SNoFormHH | Long Integer | Settlement household with no formal sanitation infrastructure. Should be the same as sum of needs category 10 and 4 | Sanitation Intervention requirements
SIRNwScHH | Long Integer | Sanitation Intervention requirement New Scheme development households (Not part of an existing scheme)
SUndBHH | Long Integer | Households to be upgraded from DRY Sanitation: Buckets
SUndPitH | Long Integer | Households to be upgraded from DRY Sanitation: Pit
SUndVIPH | Long Integer | Households to be upgraded from DRY Sanitation: VIP
SUpGVIPH | Long Integer | Households to be upgraded to: VIP
SUpGWBHH | Long Integer | Households to be upgraded to WET Sanitation: Waterborne

## WardBnd
SAWardBnd: |  | Ward Boundary (new feature)
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province Name
ProvCode | Text | Provincial Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code
WARD_ID | Double | Ward ID
WARD_No | Double | Ward Number
CAT_B | Text | Ward Location
WARDLABEL | Double | Ward Label

## PublicAmenities
PublicAmenities: |  | Public Amenities
*New Dataset
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province
ProvCode | Text | Province Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code
WSA | Text | Water Services Authority Name
SchName | Text | Scheme Name
SchNum | Text | Scheme Number
Sch_ID | Text | Scheme ID
Name | Text | Facility Name
GIS_ID | Text | Facilityl ID
Type | Text | Type of facility | Office Buildings Businesses Dry Industries Wet Industries Police Stations Magistrate offices Prisons Mining Resorts and tourism
WaterStatus | Text | Facility Water status | Adequate Inadequate None
SanStatus | Text | Facility Sanitation status | Adequate Inadequate None
AreType | Text | Area Type Description | Urban Rural
BasicSAd | Text | Adequate for Basic Services | Yes / No
HighLSAd | Text | Adequate for Higher Level Services | Yes / No
Wmetere | 2014-01-30 | Facility water metered? | Yes / No
Wbilled | Double | Facility water water billed | Yes / No
Wincome | Double | % Income received / or in value
WatSupTp | Text | Water Supply Type | Communal Controlled volume Uncontrolled volume Water Industrial Water Commercial
SanSupTp | Text | Sanitation Supply Type | On site dry On site wet (conservancy tanks etc.) Water borne reticulated sanitation Sanitation Industrial Sanitation Commercial
TPCostBL | Double | Total Potential cost to bring to basic level (RM)

## Health Facilities
Hospitals: | Health Facilities
*New Dataset
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province
ProvCode | Text | Province Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code
WSA | Text | Water Services Authority Name
SchName | Text | Scheme Name
SchNum | Text | Scheme Number
Sch_ID | Text | Scheme ID
Name | Text | Facility Name
GIS_ID | Text | Facilityl ID
Type | Text | Type of facility | Hospitals Clinics Health Centers Other Health Centres
WaterStatus | Text | Facility Water status | Adequate Inadequate None
SanStatus | Text | Facility Sanitation status | Adequate Inadequate None
AreType | Text | Area Type Description | Urban Rural
BasicSAd | Text | Adequate for Basic Services | Yes / No
HighLSAd | Text | Adequate for Higher Level Services | Yes / No
Wmetere | Text | Facility water metered? | Yes / No
Wbilled | Text | Facility water water billed | Yes / No
Wincome | Double | % Income received / or in value
WatSupTp | Text | Water Supply Type | Communal Controlled volume Uncontrolled volume Water Industrial Water Commercial
SanSupTp | Text | Water Supply Type | On site dry On site wet (conservancy tanks etc.) Water borne reticulated sanitation Sanitation Industrial Sanitation Commercial
TPCWatBL | Double | Total Potential cost to bring to basic level (RM) Water
TPCSanBL | Double | Total Potential cost to bring to basic level (RM) Sanitation

## NatSchools2008
Schools: | National Schools 2008
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province
ProvCode | Text | Province Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code
WSA | Text | Water Services Authority Name
SchName | Text | Scheme Name
SchNum | Text | Scheme Number
Sch_ID | Text | Scheme ID
EMISNUMBER | Text | EMIS Number
OFFICIALNA | Text | Official School Name
SCHOOLTYPE | Text | School Type
LATITUDESO | Double | Latitude South
LONGITUDEE | Double | Longitude East
MALELEARNE | Double | Number of Male learners
FEMALELEAR | Double | Number of Female Learners
MALEEDUCAT | Text | Number of Male Educators\ Teachers
FEMALEEDUC | Double | Number of Female Educators\ Teachers
WATERSUPPL | Double | Water Supply Source None
WATERSUP_1 | Double | Water Supply Source Borehole
WATERSUP_2 | Double | Water Supply Source Mobile Tankers
WATERSUP_3 | Double | Water Supply Source Communal
WATERSUP_4 | Double | Water Supply Source Municipal
WATERSUP_5 | Double | Water Supply Reliability LT50
WATERLOS | Text | Water Loss
WATER_COND | Text | Water Condition
NUMBEROFTA | Double | Number of Taps for Drinking Water
HAS_TOILET | Double | Has Toilet
MALEFLUSHS | Double | Male Flush (Septic)
MALEFLUSHM | Double | Male Flush (Municipal)
FEMALEFLUS | Double | Female Flush (Septic)
FEMALEFL_1 | Double | Female Flush (Municipal)
DISABLEDFL | Double | Disabled Flush (Septic)
DISABLED_1 | Double | Disabled Flush (Municipal)
MALEBUCKET | Double | Male Bucket
MALEPITS | Double | Male Pit Latrine
MALEVIP | Double | Male VIP
MALEENVIRO | Double | Male Enviro
FEMALEBUCK | Double | Female Bucket
FEMALEPITS | Double | Female Pit Latrine
FEMALEVIP | Double | Female VIP
FEMALEENVI | Double | Female Enviro
DISABLEDBU | Double | Disabled Bucket
DISABLEDPI | Double | Disabled Pit Latrine
DISABLEDVI | Double | Disabled VIP
DISABLEDEN | Double | Disabled Enviro
NEEDS_REFU | Double | Needs Refurbishment
TOILET_CON | Text | Toilet Condition
LEARNERCOU | Text | Learner Count
LEARNERSPE | Double | Learners per Tap
LEARNERS_1 | Text | Learners per Tap Class
MALELEAR_1 | Double | Male Learners per Toilet
FEMALELE_1 | Double | Female Learners per Toilet
MALEPERTOI | Text | Male per Toilet Case
FEMALEPERT | Text | Female per Toilet Case
MALELEAR_2 | Double | Male Learners Required Toilets
FEMMALELEA | Double | Female Learners Required Toilets
EDUCATORSR | Double | Educators Required Toilets
CURRENTMAL | Double | Current Male Toilets
CURRENTFEM | Double | Current Female Toilets
NUMBER_OF_ | Double | Number of Taps for Drinking Services
REQUIREDTA | Double | Required Taps
TAPS_TO_BE | Double | Taps to be refurbished
TOILETS_TO | Double | Toilets to be refurbished
TAPS_TO__1 | Double | Taps to be built
TOILETS__1 | Double | Toilets to be built
SANCONDITI | Double | Sanitation Condition
WATCONDITI | Text | Water Condition
TOTALLEARN | Double | Total Number of Learners
PRIORITY_1 | Double
PRIORITY_2 | Double
PRIORITY_4 | Double
PRIORITY_5 | Double
PRIORITY_6 | Double
PRIORITY_7 | Double
PRIORITY_8 | Double
PRIORITY_9 | Double
PRIORITY_10 | Double
PRIORITY_11 | Double
PRIORITY_12 | Double
PRIORITY_13 | Double
PRIORITY_14 | Double
SERVICES | Text
INADSAN | Text | Inadequate Sanitation
INAD_WAT | Text | Inadequate Water
DESCCOM | Text
NEEDPRIORI | Double | Needs Priority
TPCWatBL | Double | Total Potential cost to bring to basic level (RM) Water
TPCSanBL | Double | Total Potential cost to bring to basic level (RM) Sanitation

## SurfaceWaterAbstrWorks
AbstractionW: | Surface Water Abstraction Works
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province
ProvCode | Text | Province Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code
WSA | Text | Water Services Authority Name
SchName | Text | Scheme Name
SchNum | Text | Scheme Number
Sch_ID | Text | Scheme ID
AbNum | Text | Abstraction Number
Description | Text | Description
GIS_ID | Text | GIS ID
AbStatus | Text | Abstraction Status | Existing Future
AbClass | Text | Abstraction Class | Regional Bulk Internal Bulk
RefNeed | Text | Refurbishment Needs | High Medium Low None
OMOcc | Text | O&M Occurrence | Regular Periodic Sporadic None
Observation | Text | Observation | Dysfunctional Operational Prime Condition Vandalised
AssetMan | Text | Asset Management | Yes No
Incidents | Text | Incidents | Regular Periodic Sporadic None
AbDWAReg | Text | Is the abstraction registered with DWA | Yes No
AbDWARec | Text | Is the abstraction recorded | Yes No
CurAbstrac | Double | Current abstraction (Mm³/A)
LicAbstrac | Double | License abstraction (Mm³/A)
SafeInsp | Text | Safety inspection performed | Regular Periodic Sporadic None
BreakPY | Double | Number of breakages / failures per year
TRefNd | Double | Total refurbishment needs %
TRefCost | Double | Total refurbishment needs cost (RM)
TReplNd | Double | Total replacement needs %
TReplCos | Double | Total replacement needs cost (RM)
WSAOwner | Text | WSA Self the owner | Yes No
WSAOper | Text | WSA Self the operator | Yes No
ExptLS | Text | Total Expected Lifespan | Short (1 - 3 yr) Medium (3 - 10 yr) Long (10 - 20 yr)
EstRepCo | Double | Estimated replacement value (RM)
AnOperCo | Double | Annual operating Cost (RM)
AnMainCo | Double | Annual maintenance cost (RM)
CapDevAv | Double | How much capacity is still available for development? (%)
Capacity | Double | Capacity (m³) (WTW & WWTW: MI/day and PumpStation: L/s)
UseFLR | Text | Component already reached use full life span | Yes No
RefCost5y | Double | Refurbishment Cost 5 year
RefCost10y | Double | Refurbishment Cost 10 year
RefCost15y | Double | Refurbishment Cost 15 year
ReplCost5y | Double | Replacement Cost 5 year
ReplCost10y | Double | Replacement Cost 10 year
ReplCost15y | Double | Replacement Cost 15 year
NDevCost5y | Double | New Development Cost 5 year
NDevCost10y | Double | New Development Cost 10 year
NDevCost15y | Double | New Development Cost 15 year

## WaterBulkPipeLine
BulkPipeLine: | Water Bulk Pipelines
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province
ProvCode | Text | Province Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code
WSA | Text | Water Services Authority Name
SchName | Text | Scheme Name
SchNum | Text | Scheme Number
Sch_ID | Text | Scheme ID
BulkStatus | Text | Bulk Status | Existing Future
BulkClass | Text | Bulk Class | Regional Internal Bulk
BulkType | Text | Bulk Type | Water Sewer
Description | Text | Description
GIS_ID | Text | GIS ID
RefNeed | Text | Refurbishment Needs | High Medium Low None
OMOcc | Text | O&M Occurrence | Regular Periodic Sporadic None
Incidents | Text | Incidents | Regular Periodic Sporadic None
Length | Double | Length of pipeline
SafeInsp | Text | Safety inspection performed | Regular Periodic Sporadic None
BreakPY | Double | Number of breakages / failures per year
TRefNd | Double | Total refurbishment needs %
TRefCost | Double | Total refurbishment needs cost (RM)
TReplNd | Double | Total replacement needs %
TReplCos | Double | Total replacement needs cost (RM)
WSAOwner | Text | WSA Self the owner | Yes No
WSAOper | Text | WSA Self the operator | Yes No
ExptLS | Text | Total Expected Lifespan | Short (1 - 3 yr) Medium (3 - 10 yr) Long (10 - 20 yr)
EstRepCo | Double | Estimated replacement value (RM)
AnOperCo | Double | Annual operating Cost (RM)
AnMainCo | Double | Annual maintenance cost (RM)
CapDevAv | Double | How much capacity is still available for development? (%)
UseFLR | Text | Component already reached use full life span | Yes No
RefCost5y | Double | Refurbishment Cost 5 year
RefCost10y | Double | Refurbishment Cost 10 year
RefCost15y | Double | Refurbishment Cost 15 year
ReplCost5y | Double | Replacement Cost 5 year
ReplCost10y | Double | Replacement Cost 10 year
ReplCost15y | Double | Replacement Cost 15 year
NDevCost5y | Double | New Development Cost 5 year
NDevCost10y | Double | New Development Cost 10 year
NDevCost15y | Double | New Development Cost 15 year

## SewerBulkPipeLine
BulkPipeLine: | Sewer Bulk Pipelines
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province
ProvCode | Text | Province Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code
WSA | Text | Water Services Authority Name
SchName | Text | Scheme Name
SchNum | Text | Scheme Number
Sch_ID | Text | Scheme ID
BulkStatus | Text | Bulk Status | Existing Future
BulkClass | Text | Bulk Class | Regional Internal Bulk
BulkType | Text | Bulk Type | Water Sewer
Description | Text | Description
GIS_ID | Text | GIS ID
RefNeed | Text | Refurbishment Needs | High Medium Low None
OMOcc | Text | O&M Occurrence | Regular Periodic Sporadic None
Incidents | Text | Incidents | Regular Periodic Sporadic None
Length | Double | Length of pipeline
SafeInsp | Text | Safety inspection performed | Regular Periodic Sporadic None
BreakPY | Double | Number of breakages / failures per year
TRefNd | Double | Total refurbishment needs %
TRefCost | Double | Total refurbishment needs cost (RM)
TReplNd | Double | Total replacement needs %
TReplCos | Double | Total replacement needs cost (RM)
WSAOwner | Text | WSA Self the owner | Yes No
WSAOper | Text | WSA Self the operator | Yes No
ExptLS | Text | Total Expected Lifespan | Short (1 - 3 yr) Medium (3 - 10 yr) Long (10 - 20 yr)
EstRepCo | Double | Estimated replacement value (RM)
AnOperCo | Double | Annual operating Cost (RM)
AnMainCo | Double | Annual maintenance cost (RM)
CapDevAv | Double | How much capacity is still available for development? (%)
UseFLR | Text | Component already reached use full life span | Yes No
RefCost5y | Double | Refurbishment Cost 5 year
RefCost10y | Double | Refurbishment Cost 10 year
RefCost15y | Double | Refurbishment Cost 15 year
ReplCost5y | Double | Replacement Cost 5 year
ReplCost10y | Double | Replacement Cost 10 year
ReplCost15y | Double | Replacement Cost 15 year
NDevCost5y | Double | New Development Cost 5 year
NDevCost10y | Double | New Development Cost 10 year
NDevCost15y | Double | New Development Cost 15 year

## Canal
Canal: | Canal
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province
ProvCode | Text | Province Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code
WSA | Text | Water Services Authority
SchName | Text | Scheme Name
SchNum | Text | Scheme Number
Sch_ID | Text | Scheme ID
BulkStatus | Text | Bulk Status
BulkClass | Text | Bulk Class
Description | Text | Description
GIS_ID | Text | GIS ID
Incidents | Text | Incidents | Regular Periodic Sporadic None
SafeInsp | Text | Safety inspection performed | Regular Periodic Sporadic None
BreakPY | Double | Number of breakages / failures per year
TRefNd | Double | Total refurbishment needs %
TRefCost | Double | Total refurbishment needs cost (RM)
TReplNd | Double | Total replacement needs %
TReplCos | Double | Total replacement needs cost (RM)
WSAOwner | Text | WSA Self the owner | Yes No
WSAOper | Text | WSA Self the operator | Yes No
ExptLS | Text | Total Expected Lifespan | Short (1 - 3 yr) Medium (3 - 10 yr) Long (10 - 20 yr)
EstRepCo | Double | Estimated replacement value (RM)
AnOperCo | Double | Annual operating Cost (RM)
AnMainCo | Double | Annual maintenance cost (RM)
CapDevAv | Double | How much capacity is still available for development? (%)
UseFLR | Text | Component already reached use full life span | Yes No
RefCost5y | Double | Refurbishment Cost 5 year
RefCost10y | Double | Refurbishment Cost 10 year
RefCost15y | Double | Refurbishment Cost 15 year
ReplCost5y | Double | Replacement Cost 5 year
ReplCost10y | Double | Replacement Cost 10 year
ReplCost15y | Double | Replacement Cost 15 year
NDevCost5y | Double | New Development Cost 5 year
NDevCost10y | Double | New Development Cost 10 year
NDevCost15y | Double | New Development Cost 15 year

## WaterPumpstation
Pumpstations: | Water Pumpstations
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province
ProvCode | Text | Province Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code
WSA | Text | Water Services Authority Name
SchName | Text | Scheme Name
SchNum | Text | Scheme Number
Sch_ID | Text | Scheme ID
PmpNum | Text | Pump Number
Description | Text | Description
GIS_ID | Text | GIS ID
PMPStatus | Text | Pump Status | Existing Future
PMPClass | Text | Pump Class | Regional Internal Bulk
PMPType | Text | Pump Type | Water Sewer
RefNeed | Text | Refurbishment Needs | High Medium Low None
OMOcc | Text | O&M Performed | Regular Periodic Sporadic None
Observation | Text | General physical condition | Dysfunctional Operational Prime Condition Vandalised
AssetMan | Text | Asset Management | Yes No
Incidents | Text | Incidents | Regular Periodic Sporadic None
SafeInsp | Text | Safety inspection performed | Regular Periodic Sporadic None
StandbyP | Text | Are there any standby pumps available? | Yes No
BreakPY | Double | Number of breakages / failures per year
TRefNd | Double | Total refurbishment needs %
TRefCost | Double | Total refurbishment needs cost (RM)
TReplNd | Double | Total replacement needs %
TReplCos | Double | Total replacement needs cost (RM)
WSAOwner | Text | WSA Self the owner | Yes No
WSAOper | Text | WSA Self the operator | Yes No
ExptLS | Text | Total Expected Lifespan | Short (1 - 3 yr) Medium (3 - 10 yr) Long (10 - 20 yr)
EstRepCo | Double | Estimated replacement value (RM)
AnOperCo | Double | Annual operating Cost (RM)
AnMainCo | Double | Annual maintenance cost (RM)
CapDevAv | Double | How much capacity is still available for development? (%)
Capacity | Double | Capacity (m³) (WTW & WWTW: MI/day and PumpStation: L/s)
UseFLR | Text | Component already reached use full life span | Yes No
RefCost5y | Double | Refurbishment Cost 5 year
RefCost10y | Double | Refurbishment Cost 10 year
RefCost15y | Double | Refurbishment Cost 15 year
ReplCost5y | Double | Replacement Cost 5 year
ReplCost10y | Double | Replacement Cost 10 year
ReplCost15y | Double | Replacement Cost 15 year
NDevCost5y | Double | New Development Cost 5 year
NDevCost10y | Double | New Development Cost 10 year
NDevCost15y | Double | New Development Cost 15 year

## SewerPumpstation
Pumpstations: | Sewer Pumpstations
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province
ProvCode | Text | Province Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code
SchName | Text | Scheme Name
SchNum | Text | Scheme Number
Sch_ID | Text | Scheme ID
PmpNum | Text | Pump Number
Description | Text | Description
GIS_ID | Text | GIS ID
PMPStatus | Text | Pump Status | Existing Future
PMPClass | Text | Pump Class | Regional Internal Bulk
PMPType | Text | Pump Type | Water Sewer
RefNeed | Text | Refurbishment Needs | High Medium Low None
OMOcc | Text | O&M Occurrence | Regular Periodic Sporadic None
Observation | Text | General physical condition | Dysfunctional Operational Prime Condition Vandalised
AssetMan | Text | Asset Management | Yes No
Incidents | Text | Incidents | Regular Periodic Sporadic None
SafeInsp | Text | Safety inspection performed | Regular Periodic Sporadic None
StandbyP | Text | Are there any standby pumps available? | Yes No
BreakPY | Double | Number of breakages / failures per year
TRefNd | Double | Total refurbishment needs %
TRefCost | Double | Total refurbishment needs cost (RM)
TReplNd | Double | Total replacement needs %
TReplCos | Double | Total replacement needs cost (RM)
WSAOwner | Text | WSA Self the owner | Yes No
WSAOper | Text | WSA Self the operator | Yes No
ExptLS | Text | Total Expected Lifespan | Short (1 - 3 yr) Medium (3 - 10 yr) Long (10 - 20 yr)
EstRepCo | Double | Estimated replacement value (RM)
AnOperCo | Double | Annual operating Cost (RM)
AnMainCo | Double | Annual maintenance cost (RM)
Capacity | Double | Capacity (m³) (WTW & WWTW: MI/day and PumpStation: L/s)
CapDevAv | Double | How much capacity is still available for development? (%)
UseFLR | Text | Component already reached use full life span | Yes No
RefCost5y | Double | Refurbishment Cost 5 year
RefCost10y | Double | Refurbishment Cost 10 year
RefCost15y | Double | Refurbishment Cost 15 year
ReplCost5y | Double | Replacement Cost 5 year
ReplCost10y | Double | Replacement Cost 10 year
ReplCost15y | Double | Replacement Cost 15 year
NDevCost5y | Double | New Development Cost 5 year
NDevCost10y | Double | New Development Cost 10 year
NDevCost15y | Double | New Development Cost 15 year

## Reservoir
Reservoir: | Reservoir
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province
ProvCode | Text | Province Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code
WSA | Text | Water Services Authority Name
SchName | Text | Scheme Name
SchNum | Text | Scheme Number
Sch_ID | Text | Scheme ID
ResNum | Text | Reservoir Number
Description | Text | Description
GIS_ID | Text | GIS ID
ResStatus | Text | Reservoir Status | Existing Future
ResClass | Text | Reservoir Class | Regional Internal Bulk
RefNeed | Text | Refurbishment Needs | High Medium Low None
OMOcc | Text | O&M Occurrence | Regular Periodic Sporadic None
Observation | Text | General physical condition | Dysfunctional Operational Prime Condition Vandalised
AssetMan | Text | Asset Management | Yes No
Incidents | Text | Incidents | Regular Periodic Sporadic None
SafeInsp | Text | Safety inspection performed | Regular Periodic Sporadic None
DStoreF | Double | What is the storage factor (x daily use)
BreakPY | Double | Number of breakages / failures per year
TRefNd | Double | Total refurbishment needs %
TRefCost | Double | Total refurbishment needs cost (RM)
TReplNd | Double | Total replacement needs %
TReplCos | Double | Total replacement needs cost (RM)
WSAOwner | Text | WSA Self the owner | Yes No
WSAOper | Text | WSA Self the operator | Yes No
ExptLS | Text | Total Expected Lifespan | Short (1 - 3 yr) Medium (3 - 10 yr) Long (10 - 20 yr)
EstRepCo | Double | Estimated replacement value (RM)
AnOperCo | Double | Annual operating Cost (RM)
AnMainCo | Double | Annual maintenance cost (RM)
Capacity | Double | Capacity (m³) (WTW & WWTW: MI/day and PumpStation: L/s)
CapDevAv | Double | How much capacity is still available for development? (%)
UseFLR | Text | Component already reached use full life span | Yes No
RefCost5y | Double | Refurbishment Cost 5 year
RefCost10y | Double | Refurbishment Cost 10 year
RefCost15y | Double | Refurbishment Cost 15 year
ReplCost5y | Double | Replacement Cost 5 year
ReplCost10y | Double | Replacement Cost 10 year
ReplCost15y | Double | Replacement Cost 15 year
NDevCost5y | Double | New Development Cost 5 year
NDevCost10y | Double | New Development Cost 10 year
NDevCost15y | Double | New Development Cost 15 year

## WaterReticulationLine
ReticulationLine: | Water Reticulation Pipelines
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province
ProvCode | Text | Province Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code
WSA | Text | Water Services Authority Name
SchName | Text | Scheme Name
SchNum | Text | Scheme Number
Sch_ID | Text | Scheme ID
Description | Text | Description
GIS_ID | Text | GIS ID
SafeInsp | Text | Safety inspection performed | Regular Periodic Sporadic None
WSAOwner | Text | WSA Self the owner | Yes No
WSAOper | Text | WSA Self the operator | Yes No
ExptLS | Text | Total Expected Lifespan | Short (1 - 3 yr) Medium (3 - 10 yr) Long (10 - 20 yr)
EstRepCo | Double | Estimated replacement value (RM)
AnOperCo | Double | Annual operating Cost (RM)
AnMainCo | Double | Annual maintenance cost (RM)
CapDevAv | Double | How much capacity is still available for development? (%)
RefCost5y | Double | Refurbishment Cost 5 year
RefCost10y | Double | Refurbishment Cost 10 year
RefCost15y | Double | Refurbishment Cost 15 year
ReplCost5y | Double | Replacement Cost 5 year
ReplCost10y | Double | Replacement Cost 10 year
ReplCost15y | Double | Replacement Cost 15 year
NDevCost5y | Double | New Development Cost 5 year
NDevCost10y | Double | New Development Cost 10 year
NDevCost15y | Double | New Development Cost 15 year

## SewerReticulationLine
ReticulationLine: | Sewer Reticulation Pipelines
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province
ProvCode | Text | Province Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code
WSA | Text | Water Services Authority Name
SchName | Text | Scheme Name
SchNum | Text | Scheme Number
Sch_ID | Text | Scheme ID
Description | Text | Description
GIS_ID | Text | GIS ID
SafeInsp | Text | Safety inspection performed | Regular Periodic Sporadic None
BreakPY | Double | Number of breakages / failures per year
TRefNd | Double | Total refurbishment needs %
TRefCost | Double | Total refurbishment needs cost (RM)
TReplNd | Double | Total replacement needs %
TReplCos | Double | Total replacement needs cost (RM)
WSAOwner | Text | WSA Self the owner | Yes No
WSAOper | Text | WSA Self the operator | Yes No
ExptLS | Text | Total Expected Lifespan | Short (1 - 3 yr) Medium (3 - 10 yr) Long (10 - 20 yr)
EstRepCo | Double | Estimated replacement value (RM)
AnOperCo | Double | Annual operating Cost (RM)
AnMainCo | Double | Annual maintenance cost (RM)
CapDevAv | Double | How much capacity is still available for development? (%)
RefCost5y | Double | Refurbishment Cost 5 year
RefCost10y | Double | Refurbishment Cost 10 year
RefCost15y | Double | Refurbishment Cost 15 year
ReplCost5y | Double | Replacement Cost 5 year
ReplCost10y | Double | Replacement Cost 10 year
ReplCost15y | Double | Replacement Cost 15 year
NDevCost5y | Double | New Development Cost 5 year
NDevCost10y | Double | New Development Cost 10 year
NDevCost15y | Double | New Development Cost 15 year

## WaterReticulationPoint
ReticulationPoint: | Water Reticulation Points
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province
ProvCode | Text | Province Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code
WSA | Text | Water Services Authority Name
SchName | Text | Scheme Name
SchNum | Text | Scheme Number
Sch_ID | Text | Scheme ID
Type | Text | Reticulation Type: | Street Tap Erf Tap House Connection BH Reservoir/Storage Tank Other
Description | Text | Description
GIS_ID | Text | GIS ID
SafeInsp | Text | Safety inspection performed | Regular Periodic Sporadic None
WSAOwner | Text | WSA Self the owner | Yes No
WSAOper | Text | WSA Self the operator | Yes No
ExptLS | Text | Total Expected Lifespan | Short (1 - 3 yr) Medium (3 - 10 yr) Long (10 - 20 yr)
EstRepCo | Double | Estimated replacement value (RM)
AnOperCo | Double | Annual operating Cost (RM)
AnMainCo | Double | Annual maintenance cost (RM)
CapDevAv | Double | How much capacity is still available for development? (%)
RefCost5y | Double | Refurbishment Cost 5 year
RefCost10y | Double | Refurbishment Cost 10 year
RefCost15y | Double | Refurbishment Cost 15 year
ReplCost5y | Double | Replacement Cost 5 year
ReplCost10y | Double | Replacement Cost 10 year
ReplCost15y | Double | Replacement Cost 15 year
NDevCost5y | Double | New Development Cost 5 year
NDevCost10y | Double | New Development Cost 10 year
NDevCost15y | Double | New Development Cost 15 year

## SewerReticulationPoint
ReticulationPoint: | Sewer Reticulation Points
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province
ProvCode | Text | Province Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code
SchName | Text | Scheme Name
SchNum | Text | Scheme Number
Sch_ID | Text | Scheme ID
Type | Text | Reticulation Type: | Street Tap Erf Tap House Connection BH Reservoir/Storage Tank Other
Description | Text | Description
GIS_ID | Text | GIS ID
SafeInsp | Text | Safety inspection performed | Regular Periodic Sporadic None
BreakPY | Double | Number of breakages / failures per year
TRefNd | Double | Total refurbishment needs %
TRefCost | Double | Total refurbishment needs cost (RM)
TReplNd | Double | Total replacement needs %
TReplCos | Double | Total replacement needs cost (RM)
WSAOwner | Text | WSA Self the owner | Yes No
WSAOper | Text | WSA Self the operator | Yes No
ExptLS | Text | Total Expected Lifespan | Short (1 - 3 yr) Medium (3 - 10 yr) Long (10 - 20 yr)
EstRepCo | Double | Estimated replacement value (RM)
AnOperCo | Double | Annual operating Cost (RM)
AnMainCo | Double | Annual maintenance cost (RM)
CapDevAv | Double | How much capacity is still available for development? (%)
RefCost5y | Double | Refurbishment Cost 5 year
RefCost10y | Double | Refurbishment Cost 10 year
RefCost15y | Double | Refurbishment Cost 15 year
ReplCost5y | Double | Replacement Cost 5 year
ReplCost10y | Double | Replacement Cost 10 year
ReplCost15y | Double | Replacement Cost 15 year
NDevCost5y | Double | New Development Cost 5 year
NDevCost10y | Double | New Development Cost 10 year
NDevCost15y | Double | New Development Cost 15 year

## SanitationSchemeAreas
SanitationSchemeAreas: |  | Sanitation Scheme Areas
Field Names | Data Types | Descriptions | Domain Values
SSchName | Text | Sanitation Scheme Name
SSchNum | Text | Sanitation Scheme Number
SSchID | Text | Sanitation Scheme ID
WSA | Text | Water Services Authority Name
SStatus | Text | Status: | Existing Future
SClass | Text | Classification: | Regional Internal Bulk
SOwnerType | Text | Owner Type: | DM LM Water Board Agencies Private
SOwnerName | Text | Owner Name
SRefNeedPrior | Text | Refurbishment Needs Priority: | High Medium Low None
SOMNeedPrior | Text | O&M Needs Priority: | High Medium Low None
SReqType | Text | Requirement Type: | Upgrade Refurbishment O&M Replace Resource Combination None
IllegCon | Double | How many illegal connections to date?
UseFLR | Text | Component already reached use full life span | Yes No

## WaterSchemeAreas
WaterSchemeAreas: |  | Water Scheme Areas
Field Names | Data Types | Descriptions | Domain Values
WSchName | Text | Water Scheme Name
WSchNum | Text | Water Scheme Number
WSchID | Text | Water Scheme ID
WSA | Text | Water Services Authority Name
WStatus | Text | Status: | Existing Future
WClass | Text | Classification: | Regional Internal Bulk
WOwnerType | Text | Owner Type: | DM LM Water Board Agencies Private
WOwnerName | Text | Owner Name
WRefNeedPrior | Text | Refurbishment Needs Priority: | High Medium Low None
WOMNeedPrior | Text | O&M Needs Priority: | High Medium Low None
WReqType | Text | Requirement Type: | Upgrade Refurbishment O&M Replace Resource Combination None
IllegCon | Double | How many illegal connections to date?
SWPurc | Double | Surface water Purchased | (Volume Units in Mℓ/d)
SWAbst | Double | Surface water Abstracted | (Volume Units in Mℓ/d)
GWAbst | Double | Ground water Abstracted | (Volume Units in Mℓ/d)
RawSupl | Double | Raw Water Supplied | (Volume Units in Mℓ/d)
TotInTW | Double | Total Influent at TW | (Volume Units in Mℓ/d)
TotTrTW | Double | Total Treatment at TW | (Volume Units in Mℓ/d)
PurcTwat | Double | Purchased treated water | (Volume Units in Mℓ/d)
GWnotT | Double | Ground Water Not Treated | (Volume Units in Mℓ/d)
TotBulkI | Double | Total bulk water input | (Volume Units in Mℓ/d)
TotRSup | Double | TOTAL RURAL SUPPLY | (Volume Units in Mℓ/d)
ResComS | Double | Residential communal water supply | (Volume Units in Mℓ/d)
ResConvS | Double | Residential controlled volume supply | (Volume Units in Mℓ/d)
ResUncvS | Double | Residential uncontrolled volume supply | (Volume Units in Mℓ/d)
IndSupW | Double | Industrial Supply – Wet | (Volume Units in Mℓ/d)
IndSupD | Double | Industrial Supply – Dry | (Volume Units in Mℓ/d)
ComSupl | Double | Commercial supply | (Volume Units in Mℓ/d)
OtherSpl | Double | Other supply | (Volume Units in Mℓ/d)
TotUsup | Double | TOTAL URBAN SUPPLY | (Volume Units in Mℓ/d)
TotMetSp | Double | TOTAL METERED WATER SUPPLIED (urban + rural) | (Volume Units in Mℓ/d)
TotMetCo | Double | TOTAL METERED CONSUMPTION (urban + rural) | (Volume Units in Mℓ/d)
TotRWWTW | Double | Total recieved at WWTW | (Volume Units in Mℓ/d)
TotDisch | Double | Total Discharged | (Volume Units in Mℓ/d)
OtherWWT | Double | Other | (Volume Units in Mℓ/d)
RetSourc | Double | Returned to source | (Volume Units in Mℓ/d)
Recycled | Double | Recycled | (Volume Units in Mℓ/d)
RawWBlP | Double | Raw Water Bulk Loss %
TwlosBP | Double | Treated Water Loss :Bulk %
TWLosIP | Double | Treated Water Loss :Internal %
WALp | Double | Water Balance % Loss
NoSGW | Double | Number of sources: Groundwater
NoSSW | Double | Number of sources: Surface Water
NoSES | Double | Number of sources: External Sources (Bulk purchase)
NoSWRe | Double | Number of sources:Water returned to source
CurAbGw | Double | Current abstraction (Mm³/A): Groundwater
CurAbSW | Double | Current abstraction (Mm³/A): Surface Water
CurAbES | Double | Current abstraction (Mm³/A): External Sources (Bulk purchase)
CurAbWre | Double | Current abstraction (Mm³/A):Water returned to source
LiAbGw | Double | Licensed abstraction (Mm³/A): Groundwater
LiAbSW | Double | Licensed abstraction (Mm³/A): Surface Water
LiAbES | Double | Licensed abstraction (Mm³/A): External Sources (Bulk purchase)
LiAbWre | Double | Licensed abstraction (Mm³/A):Water returned to source
ComSUGw | Double | Community water supply Urban (Mm³/A): Groundwater
ComSUSW | Double | Community water supply Urban (Mm³/A): Surface Water
ComSUES | Double | Community water supply Urban (Mm³/A): External Sources (Bulk purchase)
ComSUWre | Double | Community water supply Urban (Mm³/A):Water returned to source
ComSRGw | Double | Community water supply Rural (Mm³/A): Groundwater
ComSRSW | Double | Community water supply Rural (Mm³/A): Surface Water
ComSRES | Double | Community water supply Rural (Mm³/A): External Sources (Bulk purchase)
ComSRWre | Double | Community water supply Rural (Mm³/A):Water returned to source
AdSAGwNo | Double | Additional Source Available No. Of (Mm³/A): Groundwater
AdSASWNo | Double | Additional Source Available No. Of (Mm³/A): Surface Water
AdSAESNo | Double | Additional Source Available No. Of (Mm³/A): External Sources (Bulk purchase)
AdSAGWPV | Double | Additional Source Available Potential Volume (Mm³/A): Groundwater
AdSASWPV | Double | Additional Source Available Potential Volume (Mm³/A): Surface Water
AdSAESPV | Double | Additional Source Available Potential Volume (Mm³/A): External Sources (Bulk purchase)
AdSAGWLi | Double | Additional Source AvailableLicensed abstraction (Mm³/A): Groundwater
AdSASWLi | Double | Additional Source Available Licensed abstraction (Mm³/A): Surface Water
AdSAESLi | Double | Additional Source Available Licensed abstraction (Mm³/A): External Sources (Bulk purchase)
UseFLR | Text | Component already reached use full life span | Yes No
AUbilMet | Double | Authorized Consumption: Billed Metered
AUbilUnm | Double | Authorized Consumption: Billed Unmetered
AUUbMet | Double | Authorized Consumption: Unbilled Metered
AUUbUmet | Double | Authorized Consumption: Unbilled Unmetered
AppLoses | Double | Apparent Losses
Realloses | Double | Real Losses
BUFlatR | Double | Billed Unmetered: Flat Rate
BUFBW | Double | Billed Unmetered: Free Basic Water
ALIllCon | Double | Apparent Losses: Illegal Connections
ALInactMt | Double | Apparent Losses: Inaccurate Meters
ALDatER | Double | Apparent Losses: Data Errors
PotWatN | Double | Potable Water to other neighbours

## Weir
Weir: | Weir
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province
ProvCode | Text | Province Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code
WSA | Text | Water Services Authority Name
SchName | Text | Scheme Name
SchNum | Text | Scheme Number
Sch_ID | Text | Scheme ID
Weirnum | Text | Weir Number
Description | Text | Description
GIS_ID | Text | GIS ID
WStatus | Text | Weir Status: | Existing Future
WClass | Text | Weir Class: | Regional Internal Bulk
Cap_yield_ml_d | Double | Capacity Yield ml per day
RefNeed | Text | Refurbishment Needs: | High Medium Low None
OMOcc | Text | O&M Occurrence: | Regular Periodic Sporadic None
Observation | Text | General physical condition | Dysfunctional Operational Prime Condition Vandalised
AssetMan | Text | Asset Management: | Yes No
Incidents | Text | Incidents: | Regular Periodic Sporadic None
SafeInsp | Text | Safety inspection performed | Regular Periodic Sporadic None
BreakPY | Double | Number of breakages / failures per year
TRefNd | Double | Total refurbishment needs %
TRefCost | Double | Total refurbishment needs cost (RM)
TReplNd | Double | Total replacement needs %
TReplCos | Double | Total replacement needs cost (RM)
WSAOwner | Text | WSA Self the owner | Yes No
WSAOper | Text | WSA Self the operator | Yes No
ExptLS | Text | Total Expected Lifespan | Short (1 - 3 yr) Medium (3 - 10 yr) Long (10 - 20 yr)
EstRepCo | Double | Estimated replacement value (RM)
AnOperCo | Double | Annual operating Cost (RM)
AnMainCo | Double | Annual maintenance cost (RM)
CapDevAv | Double | How much capacity is still available for development? (%)
UseFLR | Text | Component already reached use full life span | Yes No
RefCost5y | Double | Refurbishment Cost 5 year
RefCost10y | Double | Refurbishment Cost 10 year
RefCost15y | Double | Refurbishment Cost 15 year
ReplCost5y | Double | Replacement Cost 5 year
ReplCost10y | Double | Replacement Cost 10 year
ReplCost15y | Double | Replacement Cost 15 year
NDevCost5y | Double | New Development Cost 5 year
NDevCost10y | Double | New Development Cost 10 year
NDevCost15y | Double | New Development Cost 15 year

## WQUALITY_Mon_Point
WQUALITY_Mon_Points: |  | Water Quality Monitoring Points
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province
ProvCode | Text | Province Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code
WSA | Text | Water Services Authority Name
SchName | Text | Scheme Name
SchNum | Text | Scheme Number
Sch_ID | Text | Scheme ID
ID | Double
FEAT_ID | Double
LATITUDE | Double | Latitude
LONGITUDE | Double | Longitude
NAME | Text | Monitoring station name
POINT_DESC | Text | Description of monitoring point
SAM_PNT | text | Description of sampling point
FREQ | Text | Frequency of sampling
SafeInsp | Text | Safety inspection performed | Regular Periodic Sporadic None
BreakPY | Double | Number of breakages / failures per year
TRefNd | Double | Total refurbishment needs %
TRefCost | Double | Total refurbishment needs cost (RM)
TReplNd | Double | Total replacement needs %
TReplCos | Double | Total replacement needs cost (RM)
WSAOwner | Text | WSA Self the owner | Yes No
WSAOper | Text | WSA Self the operator | Yes No
ExptLS | Text | Total Expected Lifespan | Short (1 - 3 yr) Medium (3 - 10 yr) Long (10 - 20 yr)
EstRepCo | Double | Estimated replacement value (RM)
AnOperCo | Double | Annual operating Cost (RM)
AnMainCo | Double | Annual maintenance cost (RM)
CapDevAv | Double | How much capacity is still available for development? (%)
UseFLR | Text | Component already reached use full life span | Yes No
RefCost5y | Double | Refurbishment Cost 5 year
RefCost10y | Double | Refurbishment Cost 10 year
RefCost15y | Double | Refurbishment Cost 15 year
ReplCost5y | Double | Replacement Cost 5 year
ReplCost10y | Double | Replacement Cost 10 year
ReplCost15y | Double | Replacement Cost 15 year
NDevCost5y | Double | New Development Cost 5 year
NDevCost10y | Double | New Development Cost 10 year
NDevCost15y | Double | New Development Cost 15 year

## WTW
WTW: | Water Treatment Works
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province
ProvCode | Text | Province Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code
WSA | Text | Water Services Authority Name
SchName | Text | Scheme Name
SchNum | Text | Scheme Number
Sch_ID | Text | Scheme ID
WTWName | Text | Water Treatment Works Name
WTWNum | Text | Water Treatment Works Number
GIS_ID | Text | GIS ID
WTWStatus | Text | Water Treatment Works Status: | Existing Future
WTWClass | Text | Water Treatment Works Class: | Regional Internal Bulk
Cap_ml_d | Double | Total volume received and treated Ml/day
RefNeed | Text | Refurbishment Needs: | High Medium Low None
OMOcc | Text | O&M Occurrence: | Regular Periodic Sporadic None
Observation | Text | General physical condition | Dysfunctional Operational Prime Condition Vandalised
AssetMan | Text | Asset Management Plan: | Yes No
Incidents | Text | Incidents: | Regular Periodic Sporadic None
CapSuff | Text | Capacity Sufficient
StaffOSP | Double | Staff
AuthCom | Text | Autherisation Compliance | Yes No
SafeInsp | Text | Safety inspection performed | Regular Periodic Sporadic None
OperHrs | Double | Average Operating hours per day
Bdstatus | Text | Blue Drop Status | Yes No
BreakPY | Double | Number of breakages / failures per year
TRefNd | Double | Total refurbishment needs %
TRefCost | Double | Total refurbishment needs cost (RM)
TReplNd | Double | Total replacement needs %
TReplCos | Double | Total replacement needs cost (RM)
IncMProt | Text | Incident Management Protocol in place | Yes No
ProcCntr | Text | Proper Process Control in place | Yes No
FailRM | Text | Failure Response Management in place | Yes No
BDScore | Double | Current Blue Drop Status Score
WmonPrg |  | Water Monitoring Programme in place | Yes No
SampAnC | Double | % Sample Analysis Credible (Blue Drop requirements) | %
WSAOwner | Text | WSA Self the owner | Yes No
WSAOper | Text | WSA Self the operator | Yes No
ExptLS | Text | Total Expected Lifespan | Short (1 - 3 yr) Medium (3 - 10 yr) Long (10 - 20 yr)
EstRepCo | Double | Estimated replacement value (RM)
AnOperCo | Double | Annual operating Cost (RM)
AnMainCo | Double | Annual maintenance cost (RM)
CapDevAv | Double | How much capacity is still available for development? (%)
Capacity | Double | Capacity (m³) (WTW & WWTW: MI/day and PumpStation: L/s)
UseFLR | Text | Component already reached use full life span | Yes No
RefCost5y | Double | Refurbishment Cost 5 year
RefCost10y | Double | Refurbishment Cost 10 year
RefCost15y | Double | Refurbishment Cost 15 year
ReplCost5y | Double | Replacement Cost 5 year
ReplCost10y | Double | Replacement Cost 10 year
ReplCost15y | Double | Replacement Cost 15 year
NDevCost5y | Double | New Development Cost 5 year
NDevCost10y | Double | New Development Cost 10 year
NDevCost15y | Double | New Development Cost 15 year

## WWTW
WWTW: | WWTW
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province
ProvCode | Text | Province Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code
WSA | Text | Water Services Authority Name
SchName | Text | Scheme Name
Sch_ID | Text | Scheme ID (Unique GIS ID per scheme for linking)
SchNum | Text | Scheme Number (Historic scheme number if different from ID)
WWTWName | Text | Waste Water Treatment Works Name
WWTWNum | Text | Waste Water Treatment Works Number
Description | Text | Description
GIS_ID | Text | GIS ID
Owner | Text | Owner
Operator | Text | Operator
Category | Text | Category: | Scheme Based Non Scheme Based: Social Services Non Scheme Based: Mines & Industries Non Scheme Based: Small Works Septic Tanks
Classification | Text | Waste Water Treatment Works Classification: | A B C D E Unknown
WWTWStatus | Text | Waste Water Treatment Works Status: | Existing Future
WWTWClass | Text | Waste Water Treatment Works Class: | Regional Bulk Internal Bulk
WWTWProcTpe | Text | Main Type of Process: | Advanced - e.g. dialysis, reverse osmosis Activated sludge Bio-filter None Oxidation ponds Oxidation ponds unlined Package Plant Maturation Ponds Disinfection
CapAWWF | Double | Capacity Ml/day: Average Wet Weather Capacity
CapSuff | Text | Capacity Sufficient | Yes No
CapADWF | Double | Operational Capacity Ml/day: Average Dry Weather Capacity (Based on organic load)
HydrCap | Number | Hydraulic Capacity Ml/day (Based on 24hr flow)
HCapUse | Double | % Hydraulic capacity in use
DesLoad | Number | Design Loading (COD kg/day)
LoadUse% | Double | % of Loading capacity in use
CapUse% | Double | Current WWTW utilization as % of capacity
Sludge | Number | Sludge produced (dry tonnes per day)
SolidWd | Number | Solid waste disposal (M3/day)
Swdplace | Text | Where is solid waste disposed off: | Regitered waste site; Irrigation Other Sludge trench on site Drying beds Water course
TotInfRc | Number | Total influent received (Ml/day)
OperHrs | Number | Operating hours per day
RefNeed | Text | Refurbishment Need Requirement
OMOcc | Text | O&M Occurrence: | Regular Sporadic Periodic None
Observation | Text | General physical condition | Dysfunctional Operational Prime Condition Vandalised
AssetMan | Text | Asset Management Requirement: | Yes No
AssetPro | Text | Proper Asset Management Processess and Plans in place: | Yes No
Incidents | Text | Incidents: | Regular Sporadic Periodic None
SafInsp | Text | Regular Safety Inspection performed? | Yes No
StaffOSP | Double | No of Staff On Site Permanent
StaffSup | Text | Compliance to: Supervisory staff requirements (Green Drop): | Yes No
StaffPC | Text | Compliance to: Process Controller staff requirements (Green Drop): | Yes No
StaffOM | Text | Compliance to: O&M staff requirements (Green Drop): | Yes No
ManCapEf | Text | Sufficient Management Capacity & Efficiency: | Yes No
Efflrel | Text | Authorised effluent release (Ml/day)
AuthType | Text | Type of Authorisation: | General Exemption permit Permit Licence No licence Undetermined
AuthCom | Text | Autherisation Compliance | Yes No
%EffCont | Double | % Effluent Controled
WWmonP | Text | Waste Water: Monitoring Programme in place | Yes No
SwdFreq | Text | How often is effluent quality monitored? | Daily Weekly Monthly Annualy Never
SwlFreq | Text | How often is influent quality monitored? | Daily Weekly Monthly Annualy Never
UEManPl | Text | Is there a plan in place to manage untreated effluent | Yes No
MonTest | Double | Monitoring: % of tests performed as required by general limits/special limits/license requirements (Average % over previous 12 months) | %
OpTest | Double | Operational: % of tests performed as required by general limits/special limits/license requirements (Average % over previous 12 months) | %
ChemTest | Double | Chemical: Results of tests performed. Average % sample failure over previous 12 months | %
MicBTest | Double | Microbiological (Results of tests performed. Average % sample failure over previous 12 months) | %
PhysTest | Double | Physical Compliance: Results of tests performed. Average % sample failure over previous 12 months | %
EffRecyc | Number | Volume of effluent recycled (Ml/day)
Chlorin |  | % Of the time that effluent is chlorinated | %
SampAnC | Double | % Sample Analysis Credible (Green Drop requirements) | %
DSUAgric | Text | Down Stream User - Agricultural: | Yes No
DSURec | Text | Down Stream User - Recreational: | Yes No
DSUIndus | Text | Down Stream User - Industrial: | Yes No
DSUDemst | Text | Down Stream User - Domestic: | Yes No
DSUMining | Text | Down Stream User - Mining: | Yes No
DSUNone | Text | Down Stream User - None: | Yes No
ComDate | Text | Date of Comission (Start to Operate)
DSObject | Text | Is there any Down Stream Objectives: | Yes No
DSObjPer | Double | % of Down Stream Objectives Meet | %
EcoStaRB | Text | Ecological Status of Down Stream Receiving Body: | Good Fair Bad
YearUpgr | Text | Year of Last upgrade
EstRepla | Number | Estimated replacement value (RM)
CritRefur | Text | Critical elements of refurbishment
CritRepl | Text | Critical elements of replacement
DateAsses | Text | Date of Assessment
AssesBy | Text | Assessment done by
Comments | Text
SafeInsp | Text | Safety inspection performed | Regular Periodic Sporadic None
BreakPY | Double | Number of breakages / failures per year
TRefNd | Double | Total refurbishment needs %
TRefCost | Double | Total refurbishment needs cost (RM)
TReplNd | Double | Total replacement needs %
TReplCos | Double | Total replacement needs cost (RM)
IncMProt | Text | Incident Management Protocol in place | Yes No
ProcCntr | Text | Proper Process Control in place | Yes No
FailRM | Text | Failure Response Management in place | Yes No
Gdstatus | Text | Green Drop Status
GDScore | Double | Current Green Drop Status Score
WSAOwner | Text | WSA Self the owner | Yes No
WSAOper | Text | WSA Self the operator | Yes No
ExptLS | Text | Total Expected Lifespan | Short (1 - 3 yr) Medium (3 - 10 yr) Long (10 - 20 yr)
EstRepCo | Double | Estimated replacement value (RM)
AnOperCo | Double | Annual operating Cost (RM)
AnMainCo | Double | Annual maintenance cost (RM)
CapDevAv | Double | How much capacity is still available for development? (%)
Capacity | Double | Capacity (m³) (WTW & WWTW: MI/day and PumpStation: L/s)
UseFLR | Text | Component already reached use full life span | Yes No
RefCost5y | Double | Refurbishment Cost 5 year
RefCost10y | Double | Refurbishment Cost 10 year
RefCost15y | Double | Refurbishment Cost 15 year
ReplCost5y | Double | Replacement Cost 5 year
ReplCost10y | Double | Replacement Cost 10 year
ReplCost15y | Double | Replacement Cost 15 year
NDevCost5y | Double | New Development Cost 5 year
NDevCost10y | Double | New Development Cost 10 year
NDevCost15y | Double | New Development Cost 15 year

## All Town Strat
This will be replaced with a new set
All Town Strategy: | All Town Strategy
Field Names | Data Types | Descriptions | Domain Values
Link | Double | All Town Study Area Nr
Prov | Text | Province
DM | Text | District Municipality
Name | Text | Study Name
Pop_Low_2015 | Double | Population Low Growth 2015
Pop_High_2015 | Double | Population High Growth 2015
Pop_Low_2020 | Double | Population Low Growth 2020
Pop_High_2020 | Double | Population High Growth 2020
Pop_Low_2025 | Double | Population Low Growth 2025
Pop_High_2025 | Double | Population High Growth 2025
Pop_Low_2030 | Double | Population Low Growth 2030
Pop_High_2030 | Double | Population High Growth 2030
Pop_Low_2035 | Double | Population Low Growth 2035
Pop_High_2035 | Double | Population High Growth 2035
WatReq_Low_2015 | Double | Water Requirements Low Growth 2015
WatReq_High_2015 | Double | Water Requirements High Growth 2015
WatReq_Low_2020 | Double | Water Requirements Low Growth 2020
WatReq_High_2020 | Double | Water Requirements High Growth 2020
WatReq_Low_2025 | Double | Water Requirements Low Growth 2025
WatReq_High_2025 | Double | Water Requirements High Growth 2025
WatReq_Low_2030 | Double | Water Requirements Low Growth 2030
WatReq_High_2030 | Double | Water Requirements High Growth 2030
WatReq_Low_2035 | Double | Water Requirements Low Growth 2035
WatReq_High_2035 | Double | Water Requirements High Growth 2035
WCDM_Pos_Saving_2015 | Double | Possible WCDM Savings 2015
WCDM_Pos_Saving_2020 | Double | Possible WCDM Savings 2020
WCDM_Pos_Saving_2025 | Double | Possible WCDM Savings 2025
WCDM_Pos_Saving_2030 | Double | Possible WCDM Savings 2030
WCDM_Pos_Saving_2035 | Double | Possible WCDM Savings 2035
Wat_Bal_Low_2015 | Double | Water Balance Low Growth 2015
Wat_Bal_High_2015 | Double | Water Balance High Growth 2015
Wat_Bal_Low_2020 | Double | Water Balance Low Growth 2020
Wat_Bal_High_2020 | Double | Water Balance High Growth 2020
Wat_Bal_Low_2025 | Double | Water Balance Low Growth 2025
Wat_Bal_High_2025 | Double | Water Balance High Growth 2025
Wat_Bal_Low_2030 | Double | Water Balance Low Growth 2030
Wat_Bal_High_2030 | Double | Water Balance High Growth 2030
Wat_Bal_Low_2035 | Double | Water Balance Low Growth 2035
Wat_Bal_High_2035 | Double | Water Balance High Growth 2035
Surf_Source | Text | Surface Water Source Name
Surf_Volume | Double | Surface Source Volume
Surf_Wat_Qual | Text | Surface Water Quality
GW_Source_Volume | Double | Groundwater Source Volume
GW_Qaulity | Text | Groundwater Quality
Tot_Res_Vol | Double | Total Resource Volume
WTW_Cap | Double | WTW Capacity
WWTW_Cap | Double | WWTW Capacity
Rec_1 | Text | Recommendation 1 (Text from report)
Rec_2 | Text | Recommendation 2 (Text from report)
Rec_3 | Text | Recommendation 3 (Text from report)
Rec_4 | Text | Recommendation 4 (Text from report)
Rec_5 | Text | Recommendation 5 (Text from report)
Rec_6 | Text | Recommendation 6 (Text from report)
Rec_7 | Text | Recommendation 7 (Text from report)
Int_Rec1 | Text | Interpreted Recommendation 1 | WCDM Measures Groundwater Development Surface Water Development WTW Capacity Increase WWTW Capacity Increase Water Re-Use Rainwater Harvesting Bulk Infrastructure New Bulk Infrastructure Upgrade Bulk Infrastructure Refurbishment Bulk Infrastructure Extension Storage Increase No Need Resource Monitoring Implement Tariff System Desalinisation Water Trading (This list is not static and growths as new recommenations are submitted)
Int_Rec2 | Text | Interpreted Recommendation 2 | Same as for Interpreted Recommendation 1
Int_Rec3 | Text | Interpreted Recommendation 3 | Same as for Interpreted Recommendation 1
Int_Rec4 | Text | Interpreted Recommendation 4 | Same as for Interpreted Recommendation 1
Int_Rec5 | Text | Interpreted Recommendation 5 | Same as for Interpreted Recommendation 1
Int_Rec6 | Text | Interpreted Recommendation 6 | Same as for Interpreted Recommendation 1
Int_Rec7 | Text | Interpreted Recommendation 7 | Same as for Interpreted Recommendation 1
Scheme | Text | Scheme Name
PDF_Link | Text | Link to PDF Report (Original)
Update_Link | Text | Link to PDF Report (Update)
Updated | Text | Updated? | Yes/No

## Projects
Indicates changes to original
WSProjects: | Detailed Project List
Field Names | Data Types | Descriptions | Domain Values
Prov | Text | Province
DM | Text | District Municipality
LM | Text | Local Municipality
WSA | Text | Water Services Authority
SchName | Text | Scheme Name
SchNum | Text | Scheme Number
Prob_def | Text | Problem Definition
ProjOrig | Text | Project Origin | ACIP RBIG MIG Own-Muni Drought Relief Other 23DM/MWIG BEP RHIP
ProjNum | Text | Project Number
Main_P_Num | Text | Main Project Number
Sub_P_Num | Text | Sub Project Number
Proj_Phase | Text | Project Phase | Phase 01 Phase 02 Phase 03 Phase 04 Phase 05 Phase 06 Phase 07 Phase 08 Phase 09 Phase 10 Phase 11 Phase 12 Phase 33 Phase 14 Phase 15 Phase 16 Phase 17 Phase 18 Phase 19 Phase 20 Phase 21 Phase 22 Phase 23 Phase 24 Phase 25
ProjNme | Text | Project Name
ProjDesc | Text | Project Desciption
Proj_MainC | Text | Project Main Category | Water Sanitation
Proj_Focus | Text | Project Main Focus | Infrastructure Source Development Demand Management Operation Maintenance Institutional
Proj_SubCa | Text | Project Category | Internal Bulk Regional Bulk Reticulation Source Develoment Sanitation Bulk Internal Sanitation Planning Basic Supply
Proj_Extent | Text | Project Extent | Project Program
Intvnt_Cat | Text | Intervention Category / Business Element | Demographics Service Levels Infrastructure Operation Maintenance Associated Services Resource Development WCDM Institutional Arrangements Social and Customer Services
Intvnt_Hor | Text | Intervention Horison | Immediate Solution Future Demand Solution
Dem_Horison | Text | Demand Horison | Year 0 - 5 Year 5 - 10 Year 10 - 15
ProjDriver | Text | Project Driver | Housing Flagship Agriculture Industry Rec & Tourism Water Demand Basic Higher Strategic
DriverTime | Text | Project Driver Timeframe | 1 (0 - 0.5 yrs) 2 (0.5 - 1 yrs) 3 (1 - 2 yrs) 4 (2 - 5 yrs) 5 (> 5 yrs)
ProjWeight | Double | Project Weighting
ShrttrmAct | Text | Short Term Actions
ShrttrmCst | Double | Short Term Cost Requirement
MedtrmAct | Text | Medium Term Actions
MedtrmCst | Double | Medium Term Cost Requirement
LngtrmAct | Text | Long Term Actions
LngtrmCst | Double | Long Term Cost Requirement
Overterm_Actions | Text | Overterm Actions
Overterm_Fund | Double | Overterm Fund Requirement
Infra_New | Text | Infrastructure New | Yes No
Infra_Repl | Text | Infrastructure Replacement | Yes No
Infra_Exte | Text | Infrastructure Extension | Yes No
Infra_Refu | Text | Infrastructure Refurbishment | Yes No
Infra_Upgr | Text | Infrastructure Upgrade | Yes No
D_BulkPLin | Text | Bulk Pipeline | Yes No
D_RetLine | Text | Reticulation Line | Yes No
D_PStation | Text | Pumpstation | Yes No
D_WTW | Text | Water Treatment Works | Yes No
D_Reservoi | Text | Reservoir | Yes No
D_Source | Text | Source Devevlopment | Yes No
S_Dam | Text | Source Devevlopment - Dam | Yes No
S_River | Text | Source Devevlopment - River | Yes No
S_Bhole | Text | Source Devevlopment - Borehole | Yes No
S_Wellfiel | Text | Source Devevlopment - Wellfield | Yes No
S_Spring | Text | Source Devevlopment - Spring or Fountain | Yes No
S_Rainwater | Text | Source Devevlopment - Rainwater Harvesting | Yes No
Source_Main | Text | Main Water Source
Source_Aug | Text | Augmentation Water Source
Source_Alt | Text | Alternative Water Source
ATS_Ref | Text | All Town Strategy Reference
ATS_Comply | Text | All Town Strategy Compliance | Yes No
D_Power | Text | Power Installation | Yes No
D_Feas | Text | Feasibility Study Only | Yes No
D_O_and_M | Text | Operation & Maintenance | Yes No
D_WCDM | Text | Water Conservation Demand Management (WCDM) | Yes No
W_IlgalCon | Text | WCDM - Illegal Connections | Yes No
W_WatWaste | Text | WCDM - Water Wastage | Yes No
W_MajLeak | Text | WCDM - Major Leaks | Yes No
W_NoMeter | Text | WCDM - No Metering | Yes No
D_WWTW | Text | Waste Water Treatment Works | Yes No
D_WatBrnSa | Text | Water Borne Sanitation | Yes No
D_VIPSanit | Text | VIP Sanitation | Yes No
IP_Single | Text | IP Single Type Settlement Dev | Yes No
IP_NewSch | Text | IP New Scheme Dev | Yes No
IP_ExistRef | Text | IP Existing Scheme Refrb | Yes No
IP_WCDM | Text | IP WCDM | Yes No
IP_Functioanlity | Text | IP Functionality | Yes No
Prj_Start | Text | Project start Fin Year | Pre2013/14 2013 2014 2015 2016 2017 2018 2019 2020 2021 2022 2023 2024 2025 Post2025
Design_Hor | Text | Design Horizon | 5 Year 10 Year 15 Year 20 Year 25 Year >25 Year
Prj_Durat | Double | Project Duration - years
Viability_Stat | Text | Viability status | Not yet started Referred In Process Approved Rejected
Feas_Stat | Text | Feasibility Status | Not yet started Reconnaissance In Process Completed
Feas_AppSt | Text | Feasibility Approval Status | In Process Approved Referred Rejected
Proj_Stat | Text | Project statuts | Conceptual Awaiting Funding Feasibility Design Tender Construction Completed Planning in Development Redundant
Proj_Prog | Text | Project Progress | 0 % 25 & 50 % 75 % 100 %
Peop_DirBen | Double | Number of people directly benefitting from project
Peop_InDirBen | Double | Number of people indirectly benefitting from project
PercUseBas | Double | Percentage of water used for basic supply
PercUseHig | Double | Percentage of water used for higher supply
PercUseGro | Double | Percentage of water used for Growth & Development
PercUseInd | Double | Percentage of water used for Industry
PercUseOth | Double | Percentage of water used for other uses
Soc_CompV | Double | Social Component Value
Soc_CompP | Double | Social Component Percentage
Tot_Proj_C | Double | Actual Implementation cost
Feas_Cost | Double | Feasibility Cost
Tot1213 | Double | Total allocated funds 1213
Tot1314 | Double | Total allocated funds 1314
Own1415 | Double | Only allocated funds - Own funding
MIG1415 | Double | Only allocated funds - Mig funding
RBIG1415 | Double | Only allocated funds - RBIG funding
ACIP1415 | Double | Only allocated funds - ACIP funding
DR1415 | Double | Only allocated funds - Drought Relief funding
MWIG1415 | Double | Only allocated funds - MWIG funding
Other1415 | Double | Only allocated funds - Other funding
Oth_FundNm1415 | Text | Name of Other Fund
Tot1415 | Double | Total allocated funds 1415
Own1516 | Double | Only allocated funds - Own funding
MIG1516 | Double | Only allocated funds - Mig funding
RBIG1516 | Double | Only allocated funds - RBIG funding
ACIP1516 | Double | Only allocated funds - ACIP funding
DR1516 | Double | Only allocated funds - Drought Relief funding
MWIG1516 | Double | Only allocated funds - MWIG funding
RHIP1516 | Double | Only allocated funds - RHIP funding
BEP1516 | Double | Only allocated funds - BEP funding
Other1516 | Double | Only allocated funds - Other funding
Oth_FundNm1516 | Text | Name of Other Fund
Tot1516 | Double | Total allocated funds 1516
Own1617 | Double | Only allocated funds - Own funding
MIG1617 | Double | Only allocated funds - Mig funding
RBIG1617 | Double | Only allocated funds - RBIG funding
ACIP1617 | Double | Only allocated funds - ACIP funding
DR1617 | Double | Only allocated funds - Drought Relief funding
MWIG1617 | Double | Only allocated funds - MWIG funding
RHIP1617 | Double | Only allocated funds - RHIP funding
BEP1617 | Double | Only allocated funds - BEP funding
Other1617 | Double | Only allocated funds - Other funding
Oth_FundNm1617 | Text | Name of Other Fund
Tot1617 | Double | Total allocated funds 1617
Own1718 | Double | Only allocated funds - Own funding
MIG1718 | Double | Only allocated funds - Mig funding
RBIG1718 | Double | Only allocated funds - RBIG funding
ACIP1718 | Double | Only allocated funds - ACIP funding
DR1718 | Double | Only allocated funds - Drought Relief funding
MWIG1718 | Double | Only allocated funds - MWIG funding
RHIP1718 | Double | Only allocated funds - RHIP funding
BEP1718 | Double | Only allocated funds - BEP funding
Other1718 | Double | Only allocated funds - Other funding
Oth_FundNm1718 | Text | Name of Other Fund
Tot1718 | Double | Total allocated funds 1718
Own1819 | Double | Only allocated funds - Own funding
MIG1819 | Double | Only allocated funds - Mig funding
RBIG1819 | Double | Only allocated funds - RBIG funding
ACIP1819 | Double | Only allocated funds - ACIP funding
DR1819 | Double | Only allocated funds - Drought Relief funding
MWIG1819 | Double | Only allocated funds - MWIG funding
RHIP1819 | Double | Only allocated funds - RHIP funding
BEP1819 | Double | Only allocated funds - BEP funding
Other1819 | Double | Only allocated funds - Other funding
Oth_FundNm1819 | Text | Name of Other Fund
Tot1819 | Double | Total allocated funds 1819
Own1920 | Double | Only allocated funds - Own funding
MIG1920 | Double | Only allocated funds - Mig funding
RBIG1920 | Double | Only allocated funds - RBIG funding
ACIP1920 | Double | Only allocated funds - ACIP funding
DR1920 | Double | Only allocated funds - Drought Relief funding
MWIG1920 | Double | Only allocated funds - MWIG funding
RHIP1920 | Double | Only allocated funds - RHIP funding
BEP1920 | Double | Only allocated funds - BEP funding
Other1920 | Double | Only allocated funds - Other funding
Oth_FundNm1920 | Text | Name of Other Fund
Tot1920 | Double | Total allocated funds 1920
Tot_5Yr_Al | Double | Total funds allocated - Period 1516 - 1920
Tot_Alloc | Double | Total funds allocated - Period 1213 - 1920
Exp_to_Dat | Double | Expenditure to date
Tot_Defici | Double | Total deficit
Contact_P | Text | Contact Person
Contact_No | Text | Contact Number
Comment | Text | Comment
Longitude | Double | Longitude
Latitude | Double | Latitude
GIS_Nr | Text | GIS nr used for mapping/Labelling purposes
Map_Order | Text | Own field used for mapping purposes
SHAPE_Leng
SHAPE_Area

## Dams
Dams: | Dams
Field Names | Data Types | Descriptions | Domain Values | Data Origin
Name | Text | Name of dam |  | P Systems
Alt_Name | Text | Alternative name for dam |  | P Systems
Anno | Text | Name used for mapping |  | P Systems
Data_Source | Text | Source of data
Description | Text | River feeding into dam |  | Other Data set
Owner | Text | Who owns the dam |  | Other Data set
WMA | Text | Water management area |  | Other Data set
Catchment | Text | Qauternary Catchment in which dam falls |  | Other Data set
Scheme | Text | Water scheme name |  | P Systems
Region | Text | DWA Region | Southern | P Systems
Central
Northern
Live_cap | Double | Dam's live or design capacity |  | P Systems/Old GDB
1in50_Yield | Double | 1 in 50 year yield |  | Old GDB
Fac_Cat | Text | Category of facility | Dam | P Systems
Weir
Poll_Risk | Text | Pollution Risk | 0-None | P Systems
1-Very Low
2-Low
3-Moderate
4-High
5-Severe
Bio_Sensit | Text | Bio Sensitivity | 0-None | P Systems
1-Very Low
2-Low
3-Moderate
4-High
5-Severe
Cult_Sign | Text | Cultural Significance | 0-None | P Systems
1-Very Low
2-Low
3-Moderate
4-High
5-Very High
Eco Status | Text | Ecological Status | Pristine | P Systems
Moderate Modification
High Modification
Degradation
Perc_Impair | Double | Percentage of impairment on facility |  | P Systems
Impair_Reas | Text | Reason for impairment |  | P Systems
Util_Grade | Double | Utilisation grade of dam | 1-Strategic redundency | P Systems
2-Under utilised
3-Moderate use
4-Approaching design Capacity
5-Exceeding design Capacity
Annual Water Use | Double | Annual water use (million cub m/annum) |  | P Systems
Type_Water_use | Double | Type of use for water | Domestic | P Systems
Irrigation
Livestock
Non Consumptive use
Environmental
Losses
Minig/Industry
Hydropower
Other
(Any combination of the above)
Ann_WaterAlloc | Double | Altitude above mean sea level |  | P Systems
Dom_Alloc | Double | Domestic Allocation (million cub m/annum) |  | P Systems
Irrig_Alloc | Double | Irrigation Allocation (million cub m/annum) |  | P Systems
Lives_Alloc | Double | Livestock Allocation (million cub m/annum) |  | P Systems
Non_C_Alloc | Double | Non Consumptive Allocation (million cub m/annum) |  | P Systems
Env_Alloc | Double | Environmental Allocation (million cub m/annum) |  | P Systems
Loss_Alloc | Double | Allocation for Losses (million cub m/annum) |  | P Systems
Mine_Alloc | Double | Mining Alocation (million cub m/annum) |  | P Systems
Hydrop_Alloc | Double | Hydro-power Allocation (million cub m/annum) |  | P Systems
Other_Alloc | Double | Other Allocation (million cub m/annum) |  | P Systems
Total_Alloc | Double | Total Allocation (million cub m/annum) |  | P Systems
Assur_Level | Double |  |  | P Systems
RefNeed | Text | Refurbishment Needs | High Medium Low None | WSDP
OMOcc | Text | O&M Occurrence | Regular Periodic Sporadic None | WSDP
Observation | Text | Observation | Dysfunctional Operational Prime Condition Vandalised | WSDP
AssetMan | Text | Asset Management | Yes No | WSDP
Incidents | Text | Incidents | Regular Periodic Sporadic None | WSDP
AssetRMP | Text | Is this component addressed in an Asset Register Monitoring Programme | Yes No | WSDP
DisMP | Text | Is this component addressed in a disaster management plan | Yes No | WSDP
AbDWAReg | Text | Is the abstraction registered with DWA | Yes No | WSDP
SafeInsp | Text | Safety inspection performed | Regular Periodic Sporadic None | WSDP
BreakPY | Double | Number of breakages / failures per year |  | WSDP | ?
TRefNd | Double | Total refurbishment needs % |  | WSDP | ?
TRefCost | Double | Total refurbishment needs cost (RM) |  | WSDP | ?
TReplNd | Double | Total replacement needs % |  | WSDP | ?
TReplCos | Double | Total replacement needs cost (RM) |  | WSDP | ?
WSAOwner | Text | WSA Self the owner | Yes No | WSDP
WSAOper | Text | WSA Self the operator | Yes No | WSDP
ExptLS | Text | Total Expected Lifespan | Short (1 - 3 yr) Medium (3 - 10 yr) Long (10 - 20 yr) | WSDP
EstRepCo | Double | Estimated replacement value (RM) |  | WSDP
AnOperCo | Double | Annual operating Cost (RM) |  | WSDP
AnMainCo | Double | Annual maintenance cost (RM) |  | WSDP
CapDevAv | Double | How much capacity is still available for development? (%) |  | WSDP
Capacity | Double | Capacity (m³) (WTW & WWTW: MI/day and PumpStation: L/s) |  | WSDP

## Boreholes (2)
Boreholes: | Boreholes
Field Names | Data Types | Descriptions | Domain Values
Province | Text | Province
ProvCode | Text | Province Code
DMName | Text | District Municipality Name
DMCode | Text | District Municipality Code
LMName | Text | Local Municipality Name
LMCode | Text | Local Municipality Code
SchName | Text | Scheme Name
SchNum | Text | Scheme Number
Sch_ID | Text | Scheme ID
ID | Double
UN_SITE_ID | Text
SITE_ID | Text | Unique SITE ID Code
PROV_CDE | Text | Province code
COMM_ID | Text | Community ID served by borehole
COMMUNITY | Text | Community name served by borehole
BH_NR | Text | Provincial borehole nr
BH_ALTNR | Text | Alternative borehole nr
LATITUDE | Double | Latitude
LONGITUDE | Double | Longitude
ALTITUDE | Double | Altitude above mean sea level
BH_DEPTH | Double | Borehole depth
INSTL_TYPE | Text | Pump installed on borehole
PWR_TYPE | Text | Motor driving pump
WAT_LEVL | Double | Water level
WAT_CLASS | Text | Water class
BH_YIELD | Double | Recommended borehole yield in l/s
AQ_DISRATE | Double | Blow yield in l/s
ABSTR_RATE | Double | Measured abtraction rate in l/s
YIELD_TYPE | Text | Yield type used for mapping
RefNeed | Text | Refurbishment Needs | High Medium Low None
OMOcc | Text | O&M Occurrence | Regular Periodic Sporadic None
Observation | Text | Observation | Dysfunctional Operational Prime Condition Vandalised
AssetMan | Text | Asset Management | Yes No
Incidents | Text | Incidents | Regular Periodic Sporadic None
AssetRMP | Text | Is this component addressed in an Asset Register Monitoring Programme | Yes No
DisMP | Text | Is this component addressed in a disaster management plan | Yes No
AbDWAReg | Text | Is the abstraction registered with DWA | Yes No
SafeInsp | Text | Safety inspection performed | Regular Periodic Sporadic None
BreakPY | Double | Number of breakages / failures per year |  | ?
TRefNd | Double | Total refurbishment needs % |  | ?
TRefCost | Double | Total refurbishment needs cost (RM) |  | ?
TReplNd | Double | Total replacement needs % |  | ?
TReplCos | Double | Total replacement needs cost (RM) |  | ?
WSAOwner | Text | WSA Self the owner | Yes No
WSAOper | Text | WSA Self the operator | Yes No
ExptLS | Text | Total Expected Lifespan | Short (1 - 3 yr) Medium (3 - 10 yr) Long (10 - 20 yr)
EstRepCo | Double | Estimated replacement value (RM)
AnOperCo | Double | Annual operating Cost (RM)
AnMainCo | Double | Annual maintenance cost (RM)
CapDevAv | Double | How much capacity is still available for development? (%)
Capacity | Double | Capacity (m³) (WTW & WWTW: MI/day and PumpStation: L/s)