510mm

510mm

16th Floor Daniel Masoga’s Office

| Proposed – Rino Board 510 Proposed – Rino Board 510 Proposed – Rino Board 510 Proposed – Rino Board 510 3420mm 510 3420mm 510 1 2 - Window Installation 3 510 mm 510 510 mm 510 510mm 510 510mm 510 |  |
| --- | --- |
| Sections | Descriptions of work to be done |
| Section 1 | Installation of Rino Board with dimensions 510 x 510 |
| Section 2 | Window installation with Dimensions 3420 x 520 |
| Section 3 | Currently existing Rino board, no changes to be made |
| Installation needed only on sections 1 and 2 |  |

14th Floor Registry

| 4 4 660mm 660mm 850mm 850mm 3 3 Existing Biometric Door Existing Biometric Door 1900mm 1900mm 5 5 2 2 1 1 New Proposed Door New Proposed Door |  |
| --- | --- |
| Sections | Recommendations |
| Section 1 | Door installation on Point 1 |
| Section 2 | Build a solid Rino Boardwith a door for Point 1 |
| Section 3 | Section 3 will connect with Point 4, the Height 2500mm |
| Section 4 | Installation of wall by Rino Board with 660mm Length |
| Section 5 | Zelton and Carl will move to Point 5 |